## SAMPLE GI500
NO |  |  | TITLE OF DRAWING | KODE 2 | KODE 4 | KODE 5 | NOMOR DRAWING
SUPPORTING DOCUMENT
Drawing List
1 |  |  | Drawing List | GI500 | P | 001 | 0173-GI500-CKD-P-001 | UMUM
|  | General Switchyard | [5 empty] | SIPIL
2 |  |  | 500kV Patok Batas Area Lahan | GI500 | P | 201 | 0173-GI500-CKD-P-201 | EM
3 |  |  | 500kV Plotting Batas Area Lahan | GI500 | P | 202 | 0173-GI500-CKD-P-202
4 |  |  | 500kV Kontur Area Lahan | GI500 | P | 203 | 0173-GI500-CKD-P-203
SUBSTATION AND INSTALLATION DRAWINGS
Substation Drawings
5 |  |  | General Layout (500kV & 150 kV) | GI500 | E | 002 | 0173-GI500-CKD-E-002
6 |  |  | 500kV Switchyard Layout | GI500 | E | 003 | 0173-GI500-CKD-E-003
7 |  |  | 500kV Switchyard Sections | GI500 | E | 004 | 0173-GI500-CKD-E-004
8 |  |  | 500kV Earthing Grid Layout & Detail | GI500 | E | 005 | 0173-GI500-CKD-E-005
Installation Drawings
9 |  |  | 500kV Principle of Installation Drawing | GI500 | E | 006 | 0173-GI500-CKD-E-006
10 |  |  | 500kV Safety Distance | GI500 | E | 007 | 0173-GI500-CKD-E-007
11 |  |  | 500kV Busbar Identification Plates | GI500 | E | 008 | 0173-GI500-CKD-E-008
12 |  |  | Control Building Arrangement Board Layout, Section & Detail | GI500 | E | 009 | 0173-GI500-CKD-E-009
13 |  |  | 500kV Mounting Drawing Layout & Section | GI500 | E | 010 | 0173-GI500-CKD-E-010
14 |  |  | 500/150kV IBT Delta Star Connection Plan & Section (Delta and Tertiery) | GI500 | E | 011 | 0173-GI500-CKD-E-011
ELECTRICAL DRAWINGS
Single Line Diagram Drawings
15 |  |  | 500kV Single Line Diagram | GI500 | E | 012 | 0173-GI500-CKD-E-012
16 |  |  | 500kV Single Line Diagram Relay and Metering | GI500 | E | 013 | 0173-GI500-CKD-E-013
17 |  |  | 400/230V AC Single Line Diagram for 500kV | GI500 | E | 014 | 0173-GI500-CKD-E-014
18 |  |  | 110V DC Single Line Diagram for 500kV | GI500 | E | 015 | 0173-GI500-CKD-E-015
19 |  |  | 48V DC Single Line Diagram for 500kV | GI500 | E | 016 | 0173-GI500-CKD-E-016
20 |  |  | UPS Single Line Diagram | GI500 | E | 017 | 0173-GI500-CKD-E-017
Technical Specification
21 |  |  | 500kV Circuit Breaker Technical Specification | GI500 | E | 018 | 0173-GI500-CKD-E-018
22 |  |  | 500kV Disconnecting Switch Technical Specification | GI500 | E | 019 | 0173-GI500-CKD-E-019
23 |  |  | 500kV Current Transformer Technical Specification | GI500 | E | 020 | 0173-GI500-CKD-E-020
24 |  |  | 500kV Capacitive Voltage Transformer Technical Specification | GI500 | E | 021 | 0173-GI500-CKD-E-021
25 |  |  | 500kV Surge Arrester Technical Specification | GI500 | E | 022 | 0173-GI500-CKD-E-022
26 |  |  | 70kV Voltage Transformer Technical Specification | GI500 | E | 023 | 0173-GI500-CKD-E-023
27 |  |  | Interbus Transformer Technical Specification | GI500 | E | 024 | 0173-GI500-CKD-E-024
28 |  |  | 500kV Line Trap Technical Specification | GI500 | E | 025 | 0173-GI500-CKD-E-025
29 |  |  | 500kV String Set Technical Specification | GI500 | E | 026 | 0173-GI500-CKD-E-026
30 |  |  | 500kV Post Insulator Technical Specification | GI500 | E | 027 | 0173-GI500-CKD-E-027
31 |  |  | 70kV Post Insulator Technical Specification | GI500 | E | 028 | 0173-GI500-CKD-E-028
32 |  |  | 500kV HV Connector Technical Specification | GI500 | E | 029 | 0173-GI500-CKD-E-029
33 |  |  | 500kV Conductor Technical Specification | GI500 | E | 030 | 0173-GI500-CKD-E-030
34 |  |  | 500kV Earth Wire Technical Specification | GI500 | E | 031 | 0173-GI500-CKD-E-031
35 |  |  | LV Power and Control Cable Technical Specification | GI500 | E | 032 | 0173-GI500-CKD-E-032
36 |  |  | 70kV Solid Insulated Power Cable Technical Specification | GI500 | E | 033 | 0173-GI500-CKD-E-033
37 |  |  | 70kV Sealing End Technical Specification | GI500 | E | 034 | 0173-GI500-CKD-E-034
38 |  |  | 20/0.4kV Auxiliary Transformer Technical Specification | GI500 | E | 035 | 0173-GI500-CKD-E-035
39 |  |  | Generator Set Technical Specification | GI500 | E | 036 | 0173-GI500-CKD-E-036
40 |  |  | 110V Battery and Charger for 500kV Technical Specification | GI500 | E | 037 | 0173-GI500-CKD-E-037
41 |  |  | 48V Battery and Charger for 500kV Technical Specification | GI500 | E | 038 | 0173-GI500-CKD-E-038
42 |  |  | Uninteruptible Power Supply Technical Specification | GI500 | E | 039 | 0173-GI500-CKD-E-039
43 |  |  | 400/230V AC Distribution Board for 500kV Technical Specification | GI500 | E | 040 | 0173-GI500-CKD-E-040
44 |  |  | 110V DC Distribution Board for 500kV Technical Specification | GI500 | E | 041 | 0173-GI500-CKD-E-041
45 |  |  | 48V DC Distribution Board for 500kV Technical Specification | GI500 | E | 042 | 0173-GI500-CKD-E-042
46 |  |  | 500kV Telecommunication Equipment Technical Specification | GI500 | E | 043 | 0173-GI500-CKD-E-043
47 |  |  | CCTV Technical Specification | GI500 | E | 044 | 0173-GI500-CKD-E-044
48 |  |  | NCT for IBT 500/150kV Technical Specification | GI500 | E | 045 | 0173-GI500-CKD-E-045
49 |  |  | 500kV RCP Technical Specification | GI500 | E | 046 | 0173-GI500-CKD-E-046
50 |  |  | 500kV SAS Technical Specification | GI500 | E | 047 | 0173-GI500-CKD-E-047
51 |  |  | Fire Prevention System Technical Specification | GI500 | E | 048 | 0173-GI500-CKD-E-048
52 |  |  | 500kV Digital Fault Recorder (DFR) Technical Specification | GI500 | E | 049 | 0173-GI500-CKD-E-049
53 |  |  | 500kV Digital Fault Locator (DFL) Technical Specification | GI500 | E | 050 | 0173-GI500-CKD-E-050
54 |  |  | 500kV Substation Earthing System Technical Specification | GI500 | E | 051 | 0173-GI500-CKD-E-051
Technical Drawings
55 |  |  | 500kV Circuit Breaker Technical Drawing | GI500 | E | 052 | 0173-GI500-CKD-E-052
56 |  |  | 500kV Disconnecting Switch Technical Drawing | GI500 | E | 053 | 0173-GI500-CKD-E-053
57 |  |  | 500kV Current Transformer Technical Drawing | GI500 | E | 054 | 0173-GI500-CKD-E-054
58 |  |  | 500kV Capacitive Voltage Transformer Technical Drawing | GI500 | E | 055 | 0173-GI500-CKD-E-055
59 |  |  | 500kV Surge Arrester Technical Drawing | GI500 | E | 056 | 0173-GI500-CKD-E-056
60 |  |  | 70kV Voltage Transformer Technical Drawing | GI500 | E | 057 | 0173-GI500-CKD-E-057
61 |  |  | Interbus Transformer Technical Drawing | GI500 | E | 058 | 0173-GI500-CKD-E-058
62 |  |  | 500kV Line Trap Technical Drawing | GI500 | E | 059 | 0173-GI500-CKD-E-059
63 |  |  | 500kV String Set Technical Drawing | GI500 | E | 060 | 0173-GI500-CKD-E-060
64 |  |  | 500kV Post Insulator Technical Drawing | GI500 | E | 061 | 0173-GI500-CKD-E-061
65 |  |  | 70kV Post Insulator Technical Drawing | GI500 | E | 062 | 0173-GI500-CKD-E-062
66 |  |  | 500kV HV Connector Technical Drawing | GI500 | E | 063 | 0173-GI500-CKD-E-063
67 |  |  | 500kV Conductor Technical Drawing | GI500 | E | 064 | 0173-GI500-CKD-E-064
68 |  |  | 500kV Earth Wire Technical Drawing | GI500 | E | 065 | 0173-GI500-CKD-E-065
69 |  |  | LV Power and Control Cable Technical Drawing | GI500 | E | 066 | 0173-GI500-CKD-E-066
70 |  |  | 70kV Solid Insulated Power Cable Technical Drawing | GI500 | E | 067 | 0173-GI500-CKD-E-067
71 |  |  | 70kV Sealing End Technical Drawing | GI500 | E | 068 | 0173-GI500-CKD-E-068
72 |  |  | 20/0.4kV Auxiliary Transformer Technical Drawing | GI500 | E | 069 | 0173-GI500-CKD-E-069
73 |  |  | Generator Set Technical Drawing | GI500 | E | 070 | 0173-GI500-CKD-E-070
74 |  |  | 110V Battery and Charger for 500kV Drawing | GI500 | E | 071 | 0173-GI500-CKD-E-071
75 |  |  | 48V Battery and Charger for 500kV Drawing | GI500 | E | 072 | 0173-GI500-CKD-E-072
76 |  |  | Uninteruptible Power Supply Technical Drawing | GI500 | E | 073 | 0173-GI500-CKD-E-073
77 |  |  | 400/230V AC Distribution Board for 500kV Technical Drawing | GI500 | E | 074 | 0173-GI500-CKD-E-074
78 |  |  | 110V DC Distribution Board for 500kV Technical Drawing | GI500 | E | 075 | 0173-GI500-CKD-E-075
79 |  |  | 48V DC Distribution Board for 500kV Technical Drawing | GI500 | E | 076 | 0173-GI500-CKD-E-076
80 |  |  | CCTV Technical Drawing | GI500 | E | 077 | 0173-GI500-CKD-E-077
81 |  |  | NCT for IBT 500/150kV Technical Drawing | GI500 | E | 078 | 0173-GI500-CKD-E-078
82 |  |  | Fire Prevention System Technical Drawing | GI500 | E | 079 | 0173-GI500-CKD-E-079
83 |  |  | 500kV Digital Fault Recorder (DFR) Technical Drawing | GI500 | E | 080 | 0173-GI500-CKD-E-080
84 |  |  | 500kV Digital Fault Locator (DFL) Technical Drawing | GI500 | E | 081 | 0173-GI500-CKD-E-081
Calculation Notes
85 |  |  | 500kV Current Transformer Calculation Note | GI500 | E | 082 | 0173-GI500-CKD-E-082
86 |  |  | 500kV Capacitive Voltage Transformer Calculation Note | GI500 | E | 083 | 0173-GI500-CKD-E-083
87 |  |  | 500kV Earthing Grid Calculation Note | GI500 | E | 084 | 0173-GI500-CKD-E-084
88 |  |  | 110VDC Battery for 500kV Calculation Note | GI500 | E | 085 | 0173-GI500-CKD-E-085
89 |  |  | 48VDC Battery for 500kV Calculation Note | GI500 | E | 086 | 0173-GI500-CKD-E-086
90 |  |  | Power Consumption Load List (400/230VAC, 110VDC, 48VDC) | GI500 | E | 087 | 0173-GI500-CKD-E-087
91 |  |  | UPS Load List | GI500 | E | 088 | 0173-GI500-CKD-E-088
92 |  |  | 500kV Protection Relay Setting Proposal | GI500 | E | 089 | 0173-GI500-CKD-E-089
93 |  |  | 500kV Basic Design Substation Automation System (SAS) | GI500 | E | 090 | 0173-GI500-CKD-E-090
94 |  |  | 500kV Basic Design Relay Control Panel (RCP) | GI500 | E | 091 | 0173-GI500-CKD-E-091
95 |  |  | 500KV Basic Design Telecommunication | GI500 | E | 092 | 0173-GI500-CKD-E-092
Schematic Drawing
95 |  |  | 500kV Schematic Drawing Diameter-1 OHL to Balaraja-1 | GI500 | E | 093 | 0173-GI500-CKD-E-093
96 |  |  | 500kV Schematic Drawing Diameter-1 CBF, BCU & MK | GI500 | E | 094 | 0173-GI500-CKD-E-094
97 |  |  | 500kV Schematic Drawing Diameter-2 OHL to Balaraja-2 | GI500 | E | 095 | 0173-GI500-CKD-E-095
98 |  |  | 500kV Schematic Drawing Diameter-2 CBF, BCU & MK | GI500 | E | 096 | 0173-GI500-CKD-E-096
99 |  |  | 500kV Schematic Drawing Diameter-2 IBT-1 | GI500 | E | 097 | 0173-GI500-CKD-E-097
100 |  |  | 500kV Schematic Drawing Diameter-2 Incoming IBT-1 150kV Side | GI500 | E | 098 | 0173-GI500-CKD-E-098
101 |  |  | 500kV Schematic Drawing Diameter-3 OHL to Bojonegara / PLTU Jawa 7 - 1 | GI500 | E | 099 | 0173-GI500-CKD-E-099
102 |  |  | 500kV Schematic Drawing Diameter-3 CBF, BCU & MK | GI500 | E | 100 | 0173-GI500-CKD-E-100
103 |  |  | 500kV Schematic Drawing Diameter-3 IBT-2 | GI500 | E | 101 | 0173-GI500-CKD-E-101
104 |  |  | 500kV Schematic Drawing Diameter-3 Incoming IBT-2 150kV Side | GI500 | E | 102 | 0173-GI500-CKD-E-102
105 |  |  | 500kV Schematic Drawing Diameter-4 OHL to Bojonegara / PLTU Jawa 7 - 2 | GI500 | E | 103 | 0173-GI500-CKD-E-103
106 |  |  | 500kV Schematic Drawing Diameter-4 CBF, BCU & MK | GI500 | E | 104 | 0173-GI500-CKD-E-104
107 |  |  | 500kV Schematic Drawing Busbar Protection Panel Bus A Main-1 | GI500 | E | 105 | 0173-GI500-CKD-E-105
108 |  |  | 500kV Schematic Drawing Busbar Protection Panel Bus A Main-2 | GI500 | E | 106 | 0173-GI500-CKD-E-106
109 |  |  | 500kV Schematic Drawing Busbar Protection Panel Bus B Main-1 | GI500 | E | 107 | 0173-GI500-CKD-E-107
110 |  |  | 500kV Schematic Drawing Busbar Protection Panel Bus B Main-2 | GI500 | E | 108 | 0173-GI500-CKD-E-108
111 |  |  | 500kV Schematic Drawing IED I/O Common Panel | GI500 | E | 109 | 0173-GI500-CKD-E-109
112 |  |  | 500kV Schematic Drawing Energy Meter Panel | GI500 | E | 110 | 0173-GI500-CKD-E-110
113 |  |  | 500kV Schematic Drawing SAS Server Panel | GI500 | E | 111 | 0173-GI500-CKD-E-111
114 |  |  | 500kV Schematic Drawing Telecommunication | GI500 | E | 112 | 0173-GI500-CKD-E-112
115 |  |  | 500kV Schematic Drawing Common (Ring Loop) | GI500 | E | 113 | 0173-GI500-CKD-E-113
Cable Schedule
116 |  |  | 500kV Cable List and Connection | GI500 | E | 114 | 0173-GI500-CKD-E-114
Additional Drawing
117 |  |  | 500kV Tele Information Plan | GI500 | E | 115 | 0173-GI500-CKD-E-115
CIVIL DRAWINGS
Civil Calculation and Drawings
118 |  |  | 500kV Circuit Breaker Steel Structure Calculation Note | GI500 | C | 301 | 0173-GI500-CKD-C-301
119 |  |  | 500kV Circuit Breaker Foundation Calculation Note | GI500 | C | 302 | 0173-GI500-CKD-C-302
120 |  |  | 500kV Circuit Breaker Steel Structure Drawing | GI500 | C | 303 | 0173-GI500-CKD-C-303
121 |  |  | 500kV Circuit Breaker Foundation Drawing | GI500 | C | 304 | 0173-GI500-CKD-C-304
Note on E1: Kode Sistem + Kode Proyek -REN EM UIP JBB GI500 GI150 TL500 TL150 -REN EM UIP JBB
Note on F1: Kode Pekerjaan -REN EM UIP JBB E = Elektrikal S = Sipil/Struktir P = Pendukung Proyek -REN EM UIP JBB
Note on G1: Nomor Gambar -REN EM UIP JBB