## GI500
NO |  |  | TITLE OF DRAWING | KODE 2 | KODE 4 | KODE 5
SUPPORTING DOCUMENT
Drawing List
|  |  | Drawing List | GI500 | P | 001
General Drawing
|  |  | 500kV General Layout (Perimeter Area) | GI500 | P | 002
SUBSTATION AND INSTALLATION DRAWINGS
Substation Drawings
|  |  | General Layout (500kV) | GI500 | E | 001
|  |  | 500kV Switchyard Layout | GI500 | E | 002
|  |  | 500kV Switchyard Sections | GI500 | E | 003
|  |  | 500kV Earthing Grid Layout & Detail | GI500 | E | 004
Installation Drawings
|  |  | 500kV Principle of Installation Drawing | GI500 | E | 101
|  |  | 500kV Safety Distance | GI500 | E | 102
|  |  | 500kV Busbar Identification Plates | GI500 | E | 103
|  |  | Control Building Arrangement Board Layout, Section & Detail | GI500 | E | 104
|  |  | 500kV Mounting Drawing Layout & Section | GI500 | E | 105
|  |  | 500/150kV IBT Delta Star Connection Plan & Section (Delta and Tertiery) | GI500 | E | 106
ELECTRICAL DRAWINGS
Single Line Diagram Drawings
|  |  | 500kV Single Line Diagram | GI500 | E | 201
|  |  | 500kV Single Line Diagram Relay and Metering | GI500 | E | 202
|  |  | 400/230V AC Single Line Diagram for 500kV | GI500 | E | 203
|  |  | 110V DC Single Line Diagram for 500kV | GI500 | E | 204
|  |  | 48V DC Single Line Diagram for 500kV | GI500 | E | 205
|  |  | UPS Single Line Diagram | GI500 | E | 206
Technical Specification
|  |  | 500kV Substation System Design | GI500 | E | 301
|  |  | 500kV Circuit Breaker Technical Specification | GI500 | E | 302
|  |  | 500kV Disconnecting Switch Technical Specification | GI500 | E | 303
|  |  | 500kV Current Transformer Technical Specification | GI500 | E | 304
|  |  | 500kV Capacitive Voltage Transformer Technical Specification | GI500 | E | 305
|  |  | 500kV Surge Arrester Technical Specification | GI500 | E | 306
|  |  | 70kV Voltage Transformer Technical Specification | GI500 | E | 307
|  |  | Interbus Transformer Technical Specification | GI500 | E | 308
|  |  | 500kV Line Trap Technical Specification | GI500 | E | 309
|  |  | 500kV String Set Technical Specification | GI500 | E | 310
|  |  | 500kV Post Insulator Technical Specification | GI500 | E | 311
|  |  | 70kV Post Insulator Technical Specification | GI500 | E | 312
|  |  | 500kV HV Connector Technical Specification | GI500 | E | 313
|  |  | 500kV Conductor Technical Specification | GI500 | E | 314
|  |  | 500kV Earth Wire Technical Specification | GI500 | E | 315
|  |  | LV Power and Control Cable Technical Specification | GI500 | E | 316
|  |  | 70kV Solid Insulated Power Cable Technical Specification | GI500 | E | 317
|  |  | 70kV Sealing End Technical Specification | GI500 | E | 318
|  |  | 20/0.4kV Auxiliary Transformer Technical Specification | GI500 | E | 319
|  |  | Generator Set Technical Specification | GI500 | E | 320
|  |  | 110V Battery for 500kV Technical Specification | GI500 | E | 321
|  |  | 48V Battery for 500kV Technical Specification | GI500 | E | 322
|  |  | 110V Charger for 500kV Technical Specification | GI500 | E | 323
|  |  | 48V Charger for 500kV Technical Specification | GI500 | E | 324
|  |  | Uninteruptible Power Supply Technical Specification | GI500 | E | 325
|  |  | 400/230V AC Distribution Board for 500kV Technical Specification | GI500 | E | 326
|  |  | 110V DC Distribution Board for 500kV Technical Specification | GI500 | E | 327
|  |  | 48V DC Distribution Board for 500kV Technical Specification | GI500 | E | 328
|  |  | 500kV Telecommunication Equipment Technical Specification | GI500 | E | 329
|  |  | CCTV Technical Specification | GI500 | E | 330
|  |  | NCT for IBT 500/150kV Technical Specification | GI500 | E | 331
|  |  | 500kV RCP Technical Specification | GI500 | E | 332
|  |  | 500kV SAS Technical Specification | GI500 | E | 333
|  |  | Fire Prevention System Technical Specification | GI500 | E | 334
|  |  | 500kV Digital Fault Recorder (DFR) Technical Specification | GI500 | E | 335
|  |  | 500kV Digital Fault Locator (DFL) Technical Specification | GI500 | E | 336
|  |  | 500kV Substation Earthing System Technical Specification | GI500 | E | 337
Technical Drawings
|  |  | 500kV Circuit Breaker Technical Drawing | GI500 | E | 401
|  |  | 500kV Disconnecting Switch Technical Drawing | GI500 | E | 402
|  |  | 500kV Current Transformer Technical Drawing | GI500 | E | 403
|  |  | 500kV Capacitive Voltage Transformer Technical Drawing | GI500 | E | 404
|  |  | 500kV Surge Arrester Technical Drawing | GI500 | E | 405
|  |  | 70kV Voltage Transformer Technical Drawing | GI500 | E | 406
|  |  | Interbus Transformer Technical Drawing | GI500 | E | 407
|  |  | 500kV Line Trap Technical Drawing | GI500 | E | 408
|  |  | 500kV String Set Technical Drawing | GI500 | E | 409
|  |  | 500kV Post Insulator Technical Drawing | GI500 | E | 410
|  |  | 70kV Post Insulator Technical Drawing | GI500 | E | 411
|  |  | 500kV HV Connector Technical Drawing | GI500 | E | 412
|  |  | 500kV Conductor Technical Drawing | GI500 | E | 413
|  |  | 500kV Earth Wire Technical Drawing | GI500 | E | 414
|  |  | LV Power and Control Cable Technical Drawing | GI500 | E | 415
|  |  | 70kV Solid Insulated Power Cable Technical Drawing | GI500 | E | 416
|  |  | 70kV Sealing End Technical Drawing | GI500 | E | 417
|  |  | 20/0.4kV Auxiliary Transformer Technical Drawing | GI500 | E | 418
|  |  | Generator Set Technical Drawing | GI500 | E | 419
|  |  | 110V Battery for 500kV Drawing | GI500 | E | 420
|  |  | 48V Battery for 500kV Drawing | GI500 | E | 421
|  |  | 110V Charger for 500kV Drawing | GI500 | E | 422
|  |  | 48V Charger for 500kV Drawing | GI500 | E | 423
|  |  | Uninteruptible Power Supply Technical Drawing | GI500 | E | 424
|  |  | 400/230V AC Distribution Board for 500kV Technical Drawing | GI500 | E | 425
|  |  | 110V DC Distribution Board for 500kV Technical Drawing | GI500 | E | 426
|  |  | 48V DC Distribution Board for 500kV Technical Drawing | GI500 | E | 427
|  |  | CCTV Technical Drawing | GI500 | E | 428
|  |  | NCT for IBT 500/150kV Technical Drawing | GI500 | E | 429
|  |  | Fire Prevention System Technical Drawing | GI500 | E | 430
|  |  | 500kV Digital Fault Recorder (DFR) Technical Drawing | GI500 | E | 431
|  |  | 500kV Digital Fault Locator (DFL) Technical Drawing | GI500 | E | 432
Calculation Notes
|  |  | 500kV Current Transformer Calculation Note | GI500 | E | 501
|  |  | 500kV Capacitive Voltage Transformer Calculation Note | GI500 | E | 502
|  |  | 500kV Earthing Grid Calculation Note | GI500 | E | 503
|  |  | 110VDC Battery for 500kV Calculation Note | GI500 | E | 504
|  |  | 48VDC Battery for 500kV Calculation Note | GI500 | E | 505
|  |  | Power Consumption Load List (400/230VAC, 110VDC, 48VDC) | GI500 | E | 506
|  |  | UPS Load List | GI500 | E | 507
|  |  | 500kV Protection Relay Setting Proposal | GI500 | E | 508
Schematic Drawing
|  |  | 500kV Basic Design Substation Automation System (SAS) | GI500 | E | 601
|  |  | 500kV Basic Design Relay Control Panel (RCP) | GI500 | E | 602
|  |  | 500KV Basic Design Telecommunication | GI500 | E | 603
|  |  | 500kV Schematic Drawing Diameter-1 OHL to Bay Line 1 | GI500 | E | 604
|  |  | 500kV Schematic Drawing Diameter-1 CBF, BCU & MK | GI500 | E | 605
|  |  | 500kV Schematic Drawing Diameter-2 OHL to Bay Line 2 | GI500 | E | 606
|  |  | 500kV Schematic Drawing Diameter-2 CBF, BCU & MK | GI500 | E | 607
|  |  | 500kV Schematic Drawing Diameter-2 IBT-1 | GI500 | E | 608
|  |  | 500kV Schematic Drawing Diameter-2 Incoming IBT-1 150kV Side | GI500 | E | 609
|  |  | 500kV Schematic Drawing Diameter-3 OHL to Bay Line 3 | GI500 | E | 610
|  |  | 500kV Schematic Drawing Diameter-3 CBF, BCU & MK | GI500 | E | 611
|  |  | 500kV Schematic Drawing Diameter-3 IBT-2 | GI500 | E | 612
|  |  | 500kV Schematic Drawing Diameter-3 Incoming IBT-2 150kV Side | GI500 | E | 613
|  |  | 500kV Schematic Drawing Diameter-4 OHL to Bay Line 4 | GI500 | E | 614
|  |  | 500kV Schematic Drawing Diameter-4 CBF, BCU & MK | GI500 | E | 615
|  |  | 500kV Schematic Drawing Busbar Protection Panel Bus A Main-1 | GI500 | E | 616
|  |  | 500kV Schematic Drawing Busbar Protection Panel Bus A Main-2 | GI500 | E | 617
|  |  | 500kV Schematic Drawing Busbar Protection Panel Bus B Main-1 | GI500 | E | 618
|  |  | 500kV Schematic Drawing Busbar Protection Panel Bus B Main-2 | GI500 | E | 619
|  |  | 500kV Schematic Drawing IED I/O Common Panel | GI500 | E | 620
|  |  | 500kV Schematic Drawing Energy Meter Panel | GI500 | E | 621
|  |  | 500kV Schematic Drawing SAS Server Panel | GI500 | E | 622
|  |  | 500kV Schematic Drawing Telecommunication | GI500 | E | 623
|  |  | 500kV Schematic Drawing Common (Ring Loop) | GI500 | E | 624
Cable Schedule
|  |  | Cable List and Connection =B01 Diameter-1 | GI500 | E | 701
|  |  | Cable List and Connection =B02 Diameter-2 | GI500 | E | 702
|  |  | Cable List and Connection =B03 Diameter-3 | GI500 | E | 703
|  |  | Cable List and Connection =B04 Diameter-4 | GI500 | E | 704
|  |  | Cable List and Connection Busbar Protection | GI500 | E | 705
|  |  | Cable List and Connection Energy Meter | GI500 | E | 706
|  |  | Cable List and Connection SAS and Common | GI500 | E | 707
|  |  | Cable List and Connection AC DC Supply Buswire | GI500 | E | 708
|  |  | Cable List and Connection Telecommunication | GI500 | E | 709
|  |  | Cable List and Connection DFR and Fault Locator | GI500 | E | 710
Additional Drawing
|  |  | 500kV Tele Information Plan | GI500 | E | 801
|  |  | Substation System Design AIS 500kV Technical Specification | GI500 | E | 802
|  |  | Control and Protection Cubicle AIS 500kV Technical Specification | GI500 | E | 803
|  |  | Energy Meter AIS 500kV Technical Specification | GI500 | E | 804
|  |  | Marshalling Kiosk AIS 500kV Technical Specification | GI500 | E | 805
|  |  | Control and Protection Cubicle AIS 500kV Technical Drawing | GI500 | E | 806
|  |  | Energy Meter AIS 500kV Technical Drawing | GI500 | E | 807
|  |  | Marshalling Kiosk AIS 500kV Technical Drawing | GI500 | E | 808
CIVIL DRAWINGS
500 kV Switchyard Steel Structure Calculation Note
|  |  | 500kV Lightning Arrester Steel Structure Calculation Note | GI500 | C | 101
|  |  | 500kV Current Voltage Transformer Steel Structure Calculation Note | GI500 | C | 102
|  |  | 500kV Current Transformer Steel Structure Calculation Note | GI500 | C | 103
|  |  | 500kV Disconnecting Switch with Earthing Steel Structure Calculation Note | GI500 | C | 104
|  |  | 500kV Disconnecting Pantograph Steel Structure Calculation Note | GI500 | C | 105
|  |  | 500kV Circuit Breaker Steel Structure Calculation Note | GI500 | C | 106
|  |  | 500kV Disconnecting Switch without Earthing Steel Structure Calculation Note | GI500 | C | 107
|  |  | 500kV Post Insulator Steel Structure Calculation Note | GI500 | C | 108
|  |  | 500kV Post Gantry Type-1 Steel Structure Calculation Note | GI500 | C | 109
|  |  | 500kV Post Gantry Type-2 Steel Structure Calculation Note | GI500 | C | 110
|  |  | 500kV Post Gantry Type-3 Steel Structure Calculation Note | GI500 | C | 111
|  |  | 500kV Post Earthing Steel Structure Calculation Note | GI500 | C | 112
|  |  | 500kV Marshaling Kiosk Structure Calculation Note | GI500 | C | 113
|  |  | 500kV Beam Type-1 Steel Structure Calculation Note | GI500 | C | 114
|  |  | 500kV Beam Type-2 Steel Structure Calculation Note | GI500 | C | 115
500 kV Switchyard Steel Structure Drawing
|  |  | 500kV Lightning Arrester Drawing Steel Structure | GI500 | C | 201
|  |  | 500kV Current Voltage Transformer Drawing Steel Structure | GI500 | C | 202
|  |  | 500kV Current Transformer Steel Drawing Steel Structure | GI500 | C | 203
|  |  | 500kV Disconnecting Switch with Earthing Drawing Steel Structure | GI500 | C | 204
|  |  | 500kV Disconnecting Pantograph Steel Drawing Steel Structure | GI500 | C | 205
|  |  | 500kV Circuit Breaker Steel Drawing Steel Structure | GI500 | C | 206
|  |  | 500kV Disconnecting Switch without Earthing Drawing Steel Structure | GI500 | C | 207
|  |  | 500kV Post Insulator Steel Drawing Steel Structure | GI500 | C | 208
|  |  | 500kV Post Gantry Type-1 Steel Drawing Steel Structure | GI500 | C | 209
|  |  | 500kV Post Gantry Type-2 Steel Drawing Steel Structure | GI500 | C | 210
|  |  | 500kV Post Gantry Type-3 Steel Drawing Steel Structure | GI500 | C | 211
|  |  | 500kV Post Earthing Steel Drawing Steel Structure | GI500 | C | 212
|  |  | 500kV Marshaling Kiosk Drawing Steel Structure | GI500 | C | 213
|  |  | 500kV Beam Type-1 Steel Drawing Steel Structure | GI500 | C | 214
|  |  | 500kV Beam Type-2 Steel Drawing Steel Structure | GI500 | C | 215
500 kV Switchyard Foundation Calculation Note
|  |  | 500kV Lightning Arrester Foundation Calculation Note | GI500 | C | 301
|  |  | 500kV Current Voltage Transformer Foundation Calculation Note | GI500 | C | 302
|  |  | 500kV Current Transformer Foundation Calculation Note | GI500 | C | 303
|  |  | 500kV Disconnecting Switch with Earthing Foundation Calculation Note | GI500 | C | 304
|  |  | 500kV Disconnecting Pantograph Foundation Note | GI500 | C | 305
|  |  | 500kV Circuit Breaker Foundation Calculation Note | GI500 | C | 306
|  |  | 500kV Disconnecting Switch without Earthing Foundation Calculation Note | GI500 | C | 307
|  |  | 500kV Post Insulator Foundation Calculation Note | GI500 | C | 308
|  |  | 500kV Post Gantry Type-1 Foundation Calculation Note | GI500 | C | 309
|  |  | 500kV Post Gantry Type-2 Foundation Calculation Note | GI500 | C | 310
|  |  | 500kV Post Gantry Type-3 Foundation Calculation Note | GI500 | C | 311
|  |  | 500kV Post Earthing Foundation Calculation Note | GI500 | C | 312
|  |  | 500kV Marshaling Kiosk Foundation Calculation Note | GI500 | C | 313
500 kV Switchyard Foundation Drawing
|  |  | 500kV Lightning Arrester Drawing Foundation | GI500 | C | 401
|  |  | 500kV Current Voltage Transformer Drawing Foundation | GI500 | C | 402
|  |  | 500kV Current Transformer Drawing Foundation | GI500 | C | 403
|  |  | 500kV Disconnecting Switch with Earthing Drawing Foundation | GI500 | C | 404
|  |  | 500kV Disconnecting Pantograph Drawing Foundation | GI500 | C | 405
|  |  | 500kV Circuit Breaker Foundation Drawing Foundation | GI500 | C | 406
|  |  | 500kV Disconnecting Switch without Earthing Drawing Foundation | GI500 | C | 407
|  |  | 500kV Post Insulator Drawing Foundation | GI500 | C | 408
|  |  | 500kV Post Gantry Type-1 Drawing Foundation | GI500 | C | 409
|  |  | 500kV Post Gantry Type-2 Drawing Foundation | GI500 | C | 410
|  |  | 500kV Post Gantry Type-3 Drawing Foundation | GI500 | C | 411
|  |  | 500kV Post Earthing Drawing Foundation | GI500 | C | 412
|  |  | 500kV Marshaling Kiosk Drawing Foundation | GI500 | C | 413
150 kV Switchyard Steel Structure Calculation Note
|  |  | 150kV Tertier Steel Structure Calculation Note | GI500 | C | 501
|  |  | 150kV Neutral Current Transformer Steel Structure Calculation Note | GI500 | C | 502
|  |  | 150kV Sealingend Steel Structure Calculation Note | GI500 | C | 503
|  |  | 150kV Lightning Arrester Steel Structure Calculation Note | GI500 | C | 504
|  |  | 150kV Disconnecting Switch with Earthing Steel Structure Calculation Note | GI500 | C | 505
|  |  | 150kV Current Transformer Steel Structure Calculation Note | GI500 | C | 506
|  |  | 150kV Circuit Breaker Steel Structure Calculation Note | GI500 | C | 507
|  |  | 150kV Disconnecting Switch without Earthing Steel Structure Calculation Note | GI500 | C | 508
|  |  | 150kV Post Insulator Steel Structure Calculation Note | GI500 | C | 509
|  |  | 150kV Post Gantry Type-1 Steel Structure Calculation Note | GI500 | C | 510
|  |  | 150kV Post Gantry Type-2 Steel Structure Calculation Note | GI500 | C | 511
|  |  | 150kV Post Gantry Type-3 Steel Structure Calculation Note | GI500 | C | 512
|  |  | 150kV Post Earthing Steel Structure Calculation Note | GI500 | C | 513
|  |  | 150kV Marshaling Kiosk Structure Calculation Note | GI500 | C | 514
|  |  | 150kV Beam Type-1 Steel Structure Calculation Note | GI500 | C | 515
|  |  | 150kV Beam Type-2 Steel Structure Calculation Note | GI500 | C | 516
150 kV Switchyard Steel Structure Drawing
|  |  | 150kV Tertier Drawing Steel Structure | GI500 | C | 601
|  |  | 150kV Neutral Current Transformer Drawing Steel Structure | GI500 | C | 602
|  |  | 150kV Sealingend Steel Drawing Steel Structure | GI500 | C | 603
|  |  | 150kV Lightning Arrester Drawing Steel Structure | GI500 | C | 604
|  |  | 150kV Disconnecting Switch with Earthing Drawing Steel Structure | GI500 | C | 605
|  |  | 150kV Current Transformer Drawing Steel Structure | GI500 | C | 606
|  |  | 150kV Circuit Breaker Drawing Steel Structure | GI500 | C | 607
|  |  | 150kV Disconnecting Switch without Earthing Drawing Steel Structure | GI500 | C | 608
|  |  | 150kV Post Insulator Steel Drawing Steel Structure | GI500 | C | 609
|  |  | 150kV Post Gantry Type-1 Drawing Steel Structure | GI500 | C | 610
|  |  | 150kV Post Gantry Type-2 Drawing Steel Structure | GI500 | C | 611
|  |  | 150kV Post Gantry Type-3 Drawing Steel Structure | GI500 | C | 612
|  |  | 150kV Post Earthing Drawing Steel Structure | GI500 | C | 613
|  |  | 150kV Marshaling Kiosk Drawing Steel Structure | GI500 | C | 614
|  |  | 150kV Beam Type-1 Drawing Steel Structure | GI500 | C | 615
|  |  | 150kV Beam Type-2 Drawing Steel Structure | GI500 | C | 616
150 kV Switchyard Foundation Calculation Note
|  |  | 150kV Tertier Foundation Calculation Note | GI500 | C | 701
|  |  | 150kV Neutral Current Transformer Foundation Calculation Note | GI500 | C | 702
|  |  | 150kV Sealingend Foundation Calculation Note | GI500 | C | 703
|  |  | 150kV Lightning Arrester Foundation Calculation Note | GI500 | C | 704
|  |  | 150kV Disconnecting Switch with Earthing Foundation Calculation Note | GI500 | C | 705
|  |  | 150kV Current Transformer Foundation Calculation Note | GI500 | C | 706
|  |  | 150kV Circuit Breaker Foundation Calculation Note | GI500 | C | 707
|  |  | 150kV Disconnecting Switch without Earthing Foundation Calculation Note | GI500 | C | 708
|  |  | 150kV Post Insulator Foundation Calculation Note | GI500 | C | 709
|  |  | 150kV Post Gantry Type-1 Foundation Calculation Note | GI500 | C | 710
|  |  | 150kV Post Gantry Type-2 Foundation Calculation Note | GI500 | C | 711
|  |  | 150kV Post Gantry Type-3 Foundation Calculation Note | GI500 | C | 712
|  |  | 150kV Post Earthing Foundation Calculation Note | GI500 | C | 713
|  |  | 150kV Marshaling Kiosk Foundation Calculation Note | GI500 | C | 714
150 kV Switchyard Foundation Drawing
|  |  | 150kV Tertier Drawing Foundation | GI500 | C | 801
|  |  | 150kV Neutral Current Transformer Drawing Foundation | GI500 | C | 802
|  |  | 150kV Sealingend Drawing Foundation | GI500 | C | 803
|  |  | 150kV Lightning Arrester Drawing Foundation | GI500 | C | 804
|  |  | 150kV Disconnecting Switch with Earthing Drawing Foundation | GI500 | C | 805
|  |  | 150kV Current Transformer Drawing Foundation | GI500 | C | 806
|  |  | 150kV Circuit Breaker Drawing Foundation | GI500 | C | 807
|  |  | 150kV Disconnecting Switch without Earthing Drawing Foundation | GI500 | C | 808
|  |  | 150kV Post Insulator Drawing Foundation | GI500 | C | 809
|  |  | 150kV Post Gantry Type-1 Drawing Foundation | GI500 | C | 810
|  |  | 150kV Post Gantry Type-2 Drawing Foundation | GI500 | C | 811
|  |  | 150kV Post Gantry Type-3 Drawing Foundation | GI500 | C | 812
|  |  | 150kV Post Earthing Drawing Foundation | GI500 | C | 813
|  |  | 150kV Marshaling Kiosk Drawing Foundation | GI500 | C | 814
|  | 500 kV Siwtchyard | Control Building
Note on E1: Kode Sistem + Kode Proyek -REN EM UIP JBB GI500 GI150 TL500 TL150 -REN EM UIP JBB
Note on F1: Kode Pekerjaan -REN EM UIP JBB E = Elektrikal S = Sipil/Struktir P = Pendukung Proyek -REN EM UIP JBB
Note on G1: Nomor Gambar -REN EM UIP JBB

## GIS500
NO |  |  | TITLE OF DRAWING | KODE 2 | KODE 4 | KODE 5
SUPPORTING DOCUMENT
Drawing List
|  |  | Drawing List | GIS500 | P | 001
General Drawing
|  |  | 500kV General Layout (Perimeter Area) | GIS500 | P | 002
SUBSTATION AND INSTALLATION DRAWINGS
Substation Drawings
|  |  | General Layout (500kV) | GIS500 | E | 001
|  |  | 500kV Switchyard Layout | GIS500 | E | 002
|  |  | 500kV Switchyard Sections | GIS500 | E | 003
|  |  | 500kV GIS Layout View | GIS500 | E | 004
|  |  | 500kV GIS Section View | GIS500 | E | 005
|  |  | 500kV Earthing Grid Layout & Detail | GIS500 | E | 006
Installation Drawings
|  |  | 500kV Principle of Installation Drawing | GIS500 | E | 101
|  |  | 500kV Safety Distance | GIS500 | E | 102
|  |  | 500kV Busbar Identification Plates | GIS500 | E | 103
|  |  | Control Building Arrangement Board Layout, Section & Detail | GIS500 | E | 104
|  |  | 500kV Mounting Drawing Layout & Section | GIS500 | E | 105
|  |  | 500/150kV IBT Delta Star Connection Plan & Section (Delta and Tertiery) | GIS500 | E | 106
ELECTRICAL DRAWINGS
Single Line Diagram Drawings
|  |  | 500kV Single Line Diagram | GIS500 | E | 201
|  |  | 500kV Single Line Diagram Relay and Metering | GIS500 | E | 202
|  |  | 400/230V AC Single Line Diagram for 500kV | GIS500 | E | 203
|  |  | 110V DC Single Line Diagram for 500kV | GIS500 | E | 204
|  |  | 48V DC Single Line Diagram for 500kV | GIS500 | E | 205
|  |  | UPS Single Line Diagram | GIS500 | E | 206
Technical Specification
|  |  | 500kV Substation System Design | GIS500 | E | 301
|  |  | 500kV Gas Insulated Switchgear General Technical Specification | GIS500 | E | 302
|  |  | 500kV Gas Insulated Switchgear Busbar Technical Specification | GIS500 | E | 303
|  |  | 500kV Gas Insulated Switchgear Diameter Line - Line Technical Specification | GIS500 | E | 304
|  |  | 500kV Gas Insulated Switchgear Diameter Line - IBT Technical Specification | GIS500 | E | 305
|  |  | 500kV Gas Insulated Switchgear GIL Technical Specification | GIS500 | E | 306
|  |  | 500kV Outdoor Current Transformer Technical Specification | GIS500 | E | 307
|  |  | 500kV Outdoor Capacitive Voltage Transformer Technical Specification | GIS500 | E | 308
|  |  | 500kV Partial Discharge Management System Technical Specification | GIS500 | E | 309
|  |  | 500kV Partial Discharge Sensor for GIS Technical Specification | GIS500 | E | 310
|  |  | 500kV Surge Arrester Technical Specification | GIS500 | E | 311
|  |  | 70kV Voltage Transformer Technical Specification | GIS500 | E | 312
|  |  | Interbus Transformer Technical Specification | GIS500 | E | 313
|  |  | 500kV Line Trap Technical Specification | GIS500 | E | 314
|  |  | 500kV String Set Technical Specification | GIS500 | E | 315
|  |  | 500kV Post Insulator Technical Specification | GIS500 | E | 316
|  |  | 70kV Post Insulator Technical Specification | GIS500 | E | 317
|  |  | 500kV HV Connector Technical Specification | GIS500 | E | 318
|  |  | 500kV Conductor Technical Specification | GIS500 | E | 319
|  |  | 500kV Earth Wire Technical Specification | GIS500 | E | 320
|  |  | LV Power and Control Cable Technical Specification | GIS500 | E | 321
|  |  | 70kV Solid Insulated Power Cable Technical Specification | GIS500 | E | 322
|  |  | 70kV Sealing End Technical Specification | GIS500 | E | 323
|  |  | 20/0.4kV Auxiliary Transformer Technical Specification | GIS500 | E | 324
|  |  | Generator Set Technical Specification | GIS500 | E | 325
|  |  | 110V Battery for 500kV Technical Specification | GIS500 | E | 326
|  |  | 48V Battery for 500kV Technical Specification | GIS500 | E | 327
|  |  | 110V Charger for 500kV Technical Specification | GIS500 | E | 328
|  |  | 48V Charger for 500kV Technical Specification | GIS500 | E | 329
|  |  | Uninteruptible Power Supply Technical Specification | GIS500 | E | 330
|  |  | 400/230V AC Distribution Board for 500kV Technical Specification | GIS500 | E | 331
|  |  | 110V DC Distribution Board for 500kV Technical Specification | GIS500 | E | 332
|  |  | 48V DC Distribution Board for 500kV Technical Specification | GIS500 | E | 333
|  |  | 500kV Telecommunication Equipment Technical Specification | GIS500 | E | 334
|  |  | CCTV Technical Specification | GIS500 | E | 335
|  |  | NCT for IBT 500/150kV Technical Specification | GIS500 | E | 336
|  |  | 500kV RCP Technical Specification | GIS500 | E | 337
|  |  | 500kV SAS Technical Specification | GIS500 | E | 338
|  |  | Fire Prevention System Technical Specification | GIS500 | E | 339
|  |  | 500kV Digital Fault Recorder (DFR) Technical Specification | GIS500 | E | 340
|  |  | 500kV Digital Fault Locator (DFL) Technical Specification | GIS500 | E | 341
|  |  | 500kV Substation Earthing System Technical Specification | GIS500 | E | 342
|  |  | 500kV Travelling Crane Technical Specification | GIS500 | E | 343
|  |  | 500kV SF6 Analyzer Technical Specification | GIS500 | E | 344
|  |  | 500kV Gas Handling Unit Technical Specification | GIS500 | E | 345
|  |  | 500kV Access Ladder Technical Specification | GIS500 | E | 346
Technical Drawings
|  |  | 500kV GIS Loading and Earthing Plan | GIS500 | E | 401
|  |  | 500kV GIS Gas Section Compartment | GIS500 | E | 402
|  |  | 500kV GIS Local Control Cabinet Layout | GIS500 | E | 403
|  |  | 500kV Gas Insulated Switchgear Diameter Line - Line Technical Drawing | GIS500 | E | 404
|  |  | 500kV Gas Insulated Switchgear Diameter Line - IBT Technical Drawing |  |  | 405
|  |  | 500kV Gas Insulated Switchgear GIL Technical Drawing | GIS500 | E | 406
|  |  | 500kV Outdoor Current Transformer Technical Drawing | GIS500 | E | 407
|  |  | 500kV Outdoor Capacitive Voltage Transformer Technical Drawing | GIS500 | E | 408
|  |  | 500kV Partial Discharge Management System Technical Drawing | GIS500 | E | 409
|  |  | 500kV Partial Discharge Sensor for GIS Technical Drawing | GIS500 | E | 410
|  |  | 500kV Surge Arrester Technical Drawing | GIS500 | E | 411
|  |  | 70kV Voltage Transformer Technical Drawing | GIS500 | E | 412
|  |  | Interbus Transformer Technical Drawing | GIS500 | E | 413
|  |  | 500kV Line Trap Technical Drawing | GIS500 | E | 414
|  |  | 500kV String Set Technical Drawing | GIS500 | E | 415
|  |  | 500kV Post Insulator Technical Drawing | GIS500 | E | 416
|  |  | 70kV Post Insulator Technical Drawing | GIS500 | E | 417
|  |  | 500kV HV Connector Technical Drawing | GIS500 | E | 418
|  |  | 500kV Conductor Technical Drawing | GIS500 | E | 419
|  |  | 500kV Earth Wire Technical Drawing | GIS500 | E | 420
|  |  | LV Power and Control Cable Technical Drawing | GIS500 | E | 421
|  |  | 70kV Solid Insulated Power Cable Technical Drawing | GIS500 | E | 422
|  |  | 70kV Sealing End Technical Drawing | GIS500 | E | 423
|  |  | 20/0.4kV Auxiliary Transformer Technical Drawing | GIS500 | E | 424
|  |  | Generator Set Technical Drawing | GIS500 | E | 425
|  |  | 110V Battery for 500kV Drawing | GIS500 | E | 426
|  |  | 48V Battery for 500kV Drawing | GIS500 | E | 427
|  |  | 110V Charger for 500kV Drawing | GIS500 | E | 428
|  |  | 48V Charger for 500kV Drawing | GIS500 | E | 429
|  |  | Uninteruptible Power Supply Technical Drawing | GIS500 | E | 430
|  |  | 400/230V AC Distribution Board for 500kV Technical Drawing | GIS500 | E | 431
|  |  | 110V DC Distribution Board for 500kV Technical Drawing | GIS500 | E | 432
|  |  | 48V DC Distribution Board for 500kV Technical Drawing | GIS500 | E | 433
|  |  | CCTV Technical Drawing | GIS500 | E | 434
|  |  | NCT for IBT 500/150kV Technical Drawing | GIS500 | E | 435
|  |  | Fire Prevention System Technical Drawing | GIS500 | E | 436
|  |  | 500kV Digital Fault Recorder (DFR) Technical Drawing | GIS500 | E | 437
|  |  | 500kV Digital Fault Locator (DFL) Technical Drawing | GIS500 | E | 438
|  |  | 500kV Travelling Crane Technical Drawing | GIS500 | E | 439
|  |  | 500kV SF6 Analyzer Technical Drawing | GIS500 | E | 440
|  |  | 500kV Gas Handling Unit Technical Drawing | GIS500 | E | 441
|  |  | 500kV Access Ladder Technical Drawing | GIS500 | E | 442
|  |  | 500kV LCC Arrangement Diameter #1 | GIS500 | E | 443
|  |  | 500kV LCC Arrangement Diameter #2 | GIS500 | E | 444
|  |  | 500kV LCC Arrangement Diameter #3 | GIS500 | E | 445
|  |  | 500kV LCC Arrangement Diameter #4 | GIS500 | E | 446
Calculation Notes
|  |  | 500kV Current Transformer Calculation Note | GIS500 | E | 501
|  |  | 500kV Capacitive Voltage Transformer Calculation Note | GIS500 | E | 502
|  |  | 500kV Earthing Grid Calculation Note | GIS500 | E | 503
|  |  | 110VDC Battery for 500kV Calculation Note | GIS500 | E | 504
|  |  | 48VDC Battery for 500kV Calculation Note | GIS500 | E | 505
|  |  | Power Consumption Load List (400/230VAC, 110VDC, 48VDC) | GIS500 | E | 506
|  |  | UPS Load List | GIS500 | E | 507
|  |  | 500kV Protection Relay Setting Proposal | GIS500 | E | 508
Schematic Drawing
|  |  | 500kV Interlocking Concept | GIS500 | E | 601
|  |  | 500kV Basic Design Substation Automation System (SAS) | GIS500 | E | 602
|  |  | 500kV Basic Design Relay Control Panel (RCP) | GIS500 | E | 603
|  |  | 500KV Basic Design Telecommunication | GIS500 | E | 604
|  |  | 500kV Schematic Drawing Diameter-1 OHL to Bay Line 1 | GIS500 | E | 605
|  |  | 500kV Schematic Drawing Diameter-1 CBF, BCU & MK | GIS500 | E | 606
|  |  | 500kV Schematic Drawing Diameter-2 OHL to Bay Line 2 | GIS500 | E | 607
|  |  | 500kV Schematic Drawing Diameter-2 CBF, BCU & MK | GIS500 | E | 608
|  |  | 500kV Schematic Drawing Diameter-2 IBT-1 | GIS500 | E | 609
|  |  | 500kV Schematic Drawing Diameter-2 Incoming IBT-1 150kV Side | GIS500 | E | 610
|  |  | 500kV Schematic Drawing Diameter-3 OHL to Bay Line 3 | GIS500 | E | 611
|  |  | 500kV Schematic Drawing Diameter-3 CBF, BCU & MK | GIS500 | E | 612
|  |  | 500kV Schematic Drawing Diameter-3 IBT-2 | GIS500 | E | 613
|  |  | 500kV Schematic Drawing Diameter-3 Incoming IBT-2 150kV Side | GIS500 | E | 614
|  |  | 500kV Schematic Drawing Diameter-4 OHL to Bay Line 4 | GIS500 | E | 615
|  |  | 500kV Schematic Drawing Diameter-4 CBF, BCU & MK | GIS500 | E | 616
|  |  | 500kV Schematic Drawing Busbar Protection Panel Bus A Main-1 | GIS500 | E | 617
|  |  | 500kV Schematic Drawing Busbar Protection Panel Bus A Main-2 | GIS500 | E | 618
|  |  | 500kV Schematic Drawing Busbar Protection Panel Bus B Main-1 | GIS500 | E | 619
|  |  | 500kV Schematic Drawing Busbar Protection Panel Bus B Main-2 | GIS500 | E | 620
|  |  | 500kV Schematic Drawing IED I/O Common Panel | GIS500 | E | 621
|  |  | 500kV Schematic Drawing Energy Meter Panel | GIS500 | E | 622
|  |  | 500kV Schematic Drawing SAS Server Panel | GIS500 | E | 623
|  |  | 500kV Schematic Drawing Telecommunication | GIS500 | E | 624
|  |  | 500kV Schematic Drawing Common (Ring Loop) | GIS500 | E | 625
Cable Schedule
|  |  | Cable List and Connection =B01 Diameter-1 | GIS500 | E | 701
|  |  | Cable List and Connection =B02 Diameter-2 | GIS500 | E | 702
|  |  | Cable List and Connection =B03 Diameter-3 | GIS500 | E | 703
|  |  | Cable List and Connection =B04 Diameter-4 | GIS500 | E | 704
|  |  | Cable List and Connection Busbar Protection | GIS500 | E | 705
|  |  | Cable List and Connection Energy Meter | GIS500 | E | 706
|  |  | Cable List and Connection SAS and Common | GIS500 | E | 707
|  |  | Cable List and Connection AC DC Supply Buswire | GIS500 | E | 708
|  |  | Cable List and Connection Telecommunication | GIS500 | E | 709
|  |  | Cable List and Connection DFR and Fault Locator | GIS500 | E | 710
Additional Drawing
|  |  | 500kV Tele Information Plan | GIS500 | E | 810
|  |  | Substation System Design AIS 500kV Technical Specification | GIS500 | E | 811
|  |  | Control and Protection Cubicle AIS 500kV Technical Specification | GIS500 | E | 812
|  |  | Energy Meter AIS 500kV Technical Specification | GIS500 | E | 813
|  |  | Marshalling Kiosk AIS 500kV Technical Specification | GIS500 | E | 814
|  |  | Control and Protection Cubicle AIS 500kV Technical Drawing | GIS500 | E | 815
|  |  | Energy Meter AIS 500kV Technical Drawing | GIS500 | E | 816
|  |  | Marshalling Kiosk AIS 500kV Technical Drawing | GIS500 | E | 817
CIVIL DRAWINGS
500 kV Building Calculation Note
|  |  | 500kV Circuit Breaker Steel Structure Calculation Note | GIS500 | C | 101
|  |  | 500kV Circuit Breaker Foundation Calculation Note | GIS500 | C | 102
|  |  | 500kV Circuit Breaker Steel Structure Drawing | GIS500 | C | 103
|  |  | 500kV Circuit Breaker Foundation Drawing | GIS500 | C | 104
|  |  | 500kV Cable Route Layout | GIS500 | C | 105
|  |  | 500kV Cable Support Installation | GIS500 | C | 106
Note on E1: Kode Sistem + Kode Proyek -REN EM UIP JBB GI500 GI150 TL500 TL150 -REN EM UIP JBB
Note on F1: Kode Pekerjaan -REN EM UIP JBB E = Elektrikal S = Sipil/Struktir P = Pendukung Proyek -REN EM UIP JBB
Note on G1: Nomor Gambar -REN EM UIP JBB

## SUTET500
NO |  |  | TITLE OF DRAWING | KODE 2 | KODE 4 | KODE 5
SUPPORTING DOCUMENT
Drawing List
|  |  | Drawing List | TL500 | P | 001
General Drawing
|  |  | 500kV Tower Schedule | TL500 | P | 002
|  |  | 500kV Line Route Transmission | TL500 | P | 003
|  |  | 500kV Longitudinal Profile | TL500 | P | 004
500 kV TRANSMISSION LINE
|  |  | 500kV Transmission Line Ground Wire Configuration Route | TL500 | E | 001
|  |  | 500kV Transmission Line Bagan Phase Route | TL500 | E | 002
|  |  | 500kV Transmission Line Grounding System | TL500 | E | 003
CALCULATION NOTE
|  |  | 500kV Transmission Line Sagging Schedule | TL500 | E | 101
|  |  | 500kV Transmission Line Drum Schedule | TL500 | E | 102
|  |  | 500kV Transmission Line Material Schedule | TL500 | E | 103
|  |  | 500kV Ground Wire Sagging Schedule | TL500 | E | 104
|  |  | 500kV Ground Wire Drum Schedule | TL500 | E | 105
|  |  | 500kV Ground Wire Material Schedule | TL500 | E | 106
TECHNICAL PARTICULAR AND GUARANTEE (TPG)
|  |  | Transmission Line System Design | TL500 | E | 201
|  |  | High Temperature and Low Sagging Conductor (HTLS) Technical Specification | TL500 | E | 202
|  |  | Aluminium Conductor Steel Reinforced (ACSR/AS) Technical Specification | TL500 | E | 203
|  |  | Aluminium-Clad Steel Wire (AS), Fittings and Accessories TL 500 kV Technical Specification | TL500 | E | 204
|  |  | Optical Ground Wire (OPGW), Fittings and Accessories TL 500 kV Technical Specification | TL500 | E | 205
|  |  | Conductor Fittings and Accessories TL 500 kV (HTLS) | TL500 | E | 206
|  |  | Conductor Fittings and Accessories TL 500 kV (ACSR-AS) | TL500 | E | 207
|  |  | Insulator and Fittings Insulator Unit TL 500 kV Technical Specification | TL500 | E | 208
TECHNICAL DRAWING
|  |  | HTLS Technical Drawing | TL500 | E | 301
|  |  | ACSR/AS Technical Drawing | TL500 | E | 302
|  |  | Aluminium-Clad Steel Wire (AS) Technical Drawing | TL500 | E | 303
|  |  | Optical Ground Wire (OPGW) Technical Drawing | TL500 | E | 304
|  |  | Tension Set Quadruple String Technical Drawing | TL500 | E | 305
|  |  | Inverted Double String Technical Drawing | TL500 | E | 306
|  |  | Jumper Suspension Set Single String Technical Drawing | TL500 | E | 307
|  |  | Line Conductor Spacers (Span) Technical Drawing | TL500 | E | 308
|  |  | Line Conductor Spacers (Jumper) Technical Drawing | TL500 | E | 309
|  |  | Repair Sleeves Technical Drawing | TL500 | E | 310
|  |  | Counterweight Technical Drawing | TL500 | E | 311
|  |  | Ground Wire OPGW Vibration Dampers Technical Drawing | TL500 | E | 312
|  |  | Ground Wire Tension Clamp (OPGW) Technical Drawing | TL500 | E | 313
|  |  | Ground Wire AS Vibration Dampers Technical Drawing | TL500 | E | 314
|  |  | Ground Wire Tension Clamp (AS) Technical Drawing | TL500 | E | 315
|  |  | Joint Box of OPGW Technical Drawing | TL500 | E | 316
|  |  | Gantry Box (GB) Technical Drawing | TL500 | E | 317
SINGLE LINE DIAGRAM
|  |  | 500kV Transmission Single Line Diagram | TL500 | E | 401
CIVIL DRAWINGS
500 kV Tower Calculation Note
|  |  | 500kV Circuit Breaker Steel Structure Calculation Note | TL500 | C | 101
|  |  | 500kV Circuit Breaker Foundation Calculation Note | TL500 | C | 102
|  |  | 500kV Circuit Breaker Steel Structure Drawing | TL500 | C | 103
|  |  | 500kV Circuit Breaker Foundation Drawing | TL500 | C | 104
Note on E1: Kode Sistem + Kode Proyek -REN EM UIP JBB GI500 GI150 TL500 TL150 -REN EM UIP JBB
Note on F1: Kode Pekerjaan -REN EM UIP JBB E = Elektrikal S = Sipil/Struktir P = Pendukung Proyek -REN EM UIP JBB
Note on G1: Nomor Gambar -REN EM UIP JBB

## SUTT150
NO |  |  | TITLE OF DRAWING | KODE 2 | KODE 4 | KODE 5
SUPPORTING DOCUMENT
Drawing List
|  |  | Drawing List | TL150 | P | 001
General Drawing
|  |  | 150kV Tower Schedule | TL150 | P | 002
|  |  | 150kV Line Route Transmission | TL150 | P | 003
|  |  | 150kV Longitudinal Profile | TL150 | P | 004
TRANSMISSION LINE 150 kV
|  |  | 150kV Transmission Line Ground Wire Configuration Route | TL150 | E | 001
|  |  | 150kV Transmission Line Bagan Phase Route | TL150 | E | 002
|  |  | 150kV Transmission Line Grounding System | TL150 | E | 003
CALCULATION NOTE
|  |  | 150kV Transmission Line Sagging Schedule (ACSR) | TL150 | E | 101
|  |  | 150kV Transmission Line Drum Schedule (ACSR) | TL150 | E | 102
|  |  | 150kV Transmission Line Material Schedule (ACSR) | TL150 | E | 103
|  |  | 150kV Transmission Line Sagging Schedule (HTLS) | TL150 | E | 104
|  |  | 150kV Transmission Line Drum Schedule (HTLS) | TL150 | E | 105
|  |  | 150kV Transmission Line Material Schedule (HTLS) | TL150 | E | 106
|  |  | 150kV Ground Wire Sagging Schedule | TL150 | E | 107
|  |  | 150kV Ground Wire Drum Schedule | TL150 | E | 108
|  |  | 150kV Ground Wire Material Schedule | TL150 | E | 109
TECHNICAL PARTICULAR AND GUARANTEE (TPG)
|  |  | Transmission Line System Design | TL150 | E | 201
|  |  | High Temperature and Low Sagging Conductor (HTLS) Technical Specification | TL150 | E | 202
|  |  | Aluminium Conductor Steel Reinforced (ACSR/AS) Technical Specification | TL150 | E | 203
|  |  | Aluminium-Clad Steel Wire (AS), Fittings and Accessories TL 150 kV Technical Specification | TL150 | E | 204
|  |  | Optical Ground Wire (OPGW), Fittings and Accessories TL 150 kV Technical Specification | TL150 | E | 205
|  |  | Conductor Fittings and Accessories TL 150 kV (HTLS) | TL150 | E | 206
|  |  | Conductor Fittings and Accessories TL 150 kV (ACSR-AS) | TL150 | E | 207
|  |  | Insulator and Fittings Insulator Unit TL 150 kV Technical Specification | TL150 | E | 208
TECHNICAL DRAWING
|  |  | HTLS Technical Drawing | TL150 | E | 301
|  |  | ACSR/AS Technical Drawing | TL150 | E | 302
|  |  | Aluminium-Clad Steel Wire (AS) Technical Drawing | TL150 | E | 303
|  |  | Optical Ground Wire (OPGW) Technical Drawing | TL150 | E | 304
|  |  | Tension Set Double String Technical Drawing | TL150 | E | 305
|  |  | Inverted Single String Technical Drawing | TL150 | E | 306
|  |  | Jumper Suspension Single Set Technical Drawing | TL150 | E | 307
|  |  | Line Conductor Spacers (Span) Technical Drawing | TL150 | E | 308
|  |  | Line Conductor Spacers (Jumper) Technical Drawing | TL150 | E | 309
|  |  | Repair Sleeves Technical Drawing | TL150 | E | 310
|  |  | Counterweight Technical Drawing | TL150 | E | 311
|  |  | Ground Wire OPGW Vibration Dampers Technical Drawing | TL150 | E | 312
|  |  | Ground Wire Tension Clamp (OPGW) Technical Drawing | TL150 | E | 313
|  |  | Ground Wire AS Vibration Dampers Technical Drawing | TL150 | E | 314
|  |  | Ground Wire Tension Clamp (AS) Technical Drawing | TL150 | E | 315
|  |  | Joint Box of OPGW Technical Drawing | TL150 | E | 316
|  |  | Gantry Box (GB) Technical Drawing | TL150 | E | 317
SINGLE LINE DIAGRAM
|  |  | 150kV Transmission Single Line Diagram | TL150 | E | 401
CIVIL DRAWINGS
150 kV Tower Calculation Note
|  |  | 500kV Circuit Breaker Steel Structure Calculation Note | TL150 | C | 101
|  |  | 500kV Circuit Breaker Foundation Calculation Note | TL150 | C | 102
|  |  | 500kV Circuit Breaker Steel Structure Drawing | TL150 | C | 103
|  |  | 500kV Circuit Breaker Foundation Drawing | TL150 | C | 104
Note on E1: Kode Sistem + Kode Proyek -REN EM UIP JBB GI500 GI150 TL500 TL150 -REN EM UIP JBB
Note on F1: Kode Pekerjaan -REN EM UIP JBB E = Elektrikal S = Sipil/Struktir P = Pendukung Proyek -REN EM UIP JBB
Note on G1: Nomor Gambar -REN EM UIP JBB

## GI150
NO |  |  | TITLE OF DRAWING | KODE 2 | KODE 4 | KODE 5
SUPPORTING DOCUMENT
Drawing List
|  |  | Drawing List | GI150 | P | 001
General Drawing
|  |  | 150kV General Layout (Perimeter Area) | GI150 | P | 002
SUBSTATION AND INSTALLATION DRAWINGS
Substation Drawings
|  |  | 150kV General Layout | GI150 | E | 001
|  |  | 150kV Switchyard Layout | GI150 | E | 002
|  |  | 150kV Switchyard Sections | GI150 | E | 003
|  |  | 150kV Earthing Grid Layout & Detail | GI150 | E | 004
Installation Drawings
|  |  | 150kV Principle of Installation Drawing | GI150 | E | 101
|  |  | 150kV Safety Distance | GI150 | E | 102
|  |  | 150kV Busbar Identification Plates | GI150 | E | 103
|  |  | 150kV Control Building Arrangement Board Layout, Section & Detail | GI150 | E | 104
|  |  | 150kV Mounting Drawing Layout & Section | GI150 | E | 105
ELECTRICAL DRAWINGS
Single Line Diagram Drawings
|  |  | 150kV Single Line Diagram | GI150 | E | 201
|  |  | 150kV Single Line Diagram Relay and Metering | GI150 | E | 202
|  |  | 400/230V AC Single Line Diagram for 150kV | GI150 | E | 203
|  |  | 110V DC Single Line Diagram for 150kV | GI150 | E | 204
|  |  | 48V DC Single Line Diagram for 150kV | GI150 | E | 205
|  |  | 20kV Single Line Diagram | GI150 | E | 206
|  |  | UPS Single Line Diagram | GI150 | E | 207
Technical Specification
|  |  | Substation System Design AIS 150kV Technical Specification | GI150 | E | 301
|  |  | 150kV Circuit Breaker Technical Specification | GI150 | E | 302
|  |  | 150kV Disconnecting Switch Technical Specification | GI150 | E | 303
|  |  | 150kV Current Transformer Technical Specification | GI150 | E | 304
|  |  | 150kV Capacitive Voltage Transformer Technical Specification | GI150 | E | 305
|  |  | 150kV Surge Arrester Technical Specification | GI150 | E | 306
|  |  | 150/20kV Power Transformer Technical Specification | GI150 | E | 307
|  |  | 150kV String Set Technical Specification | GI150 | E | 308
|  |  | 150kV Post Insulator Technical Specification | GI150 | E | 309
|  |  | 150kV HV Connector Technical Specification | GI150 | E | 310
|  |  | 150kV Conductor Technical Specification | GI150 | E | 311
|  |  | 150kV Earth Wire Technical Specification | GI150 | E | 312
|  |  | 150kV LV Power and Control Cable Technical Specification | GI150 | E | 313
|  |  | 20kV MV Power Cable Technical Specification | GI150 | E | 314
|  |  | 20/0.4kV Auxiliary Transformer Technical Specification | GI150 | E | 315
|  |  | Generator Set Technical Specification | GI150 | E | 316
|  |  | 110V Battery for 150kV Technical Specification | GI150 | E | 317
|  |  | 48V Battery for 150kV Technical Specification | GI150 | E | 318
|  |  | 110V Battery Charger for 150kV Technical Specification | GI150 | E | 319
|  |  | 48V Battery Charger for 150kV Technical Specification | GI150 | E | 320
|  |  | Uninteruptible Power Supply Technical Specification | GI150 | E | 321
|  |  | 400/230V AC Distribution Board for 150kV Technical Specification | GI150 | E | 322
|  |  | 110V DC Distribution Board for 150kV Technical Specification | GI150 | E | 323
|  |  | 48V DC Distribution Board for 150kV Technical Specification | GI150 | E | 324
|  |  | 20kV MV Switchgear Technical Specification | GI150 | E | 325
|  |  | Neutral Grounding Resistor Technical Specification | GI150 | E | 326
|  |  | 150kV NCT Technical Specification | GI150 | E | 327
|  |  | 150kV Telecommunication Equipment Technical Specification | GI150 | E | 328
|  |  | CCTV Technical Specification | GI150 | E | 329
|  |  | 150kV RCP Technical Specification | GI150 | E | 330
|  |  | 150kV SAS Technical Specification | GI150 | E | 331
|  |  | Fire Prevention System Technical Specification | GI150 | E | 332
|  |  | 150kV Digital Fault Recorder (DFR) Technical Specification | GI150 | E | 333
|  |  | 150kV Digital Fault Locator (DFL) Technical Specification | GI150 | E | 334
|  |  | 150kV Substation Earthing System Technical Specification | GI150 | E | 335
Technical Drawings
|  |  | 150kV Circuit Breaker Technical Drawing | GI150 | E | 401
|  |  | 150kV Disconnecting Switch Technical Drawing | GI150 | E | 402
|  |  | 150kV Current Transformer Technical Drawing | GI150 | E | 403
|  |  | 150kV Capacitive Voltage Transformer Technical Drawing | GI150 | E | 404
|  |  | 150kV Surge Arrester Technical Drawing | GI150 | E | 405
|  |  | 150/20kV Power Transformer Technical Drawing | GI150 | E | 406
|  |  | 150kV String Set Technical Drawing | GI150 | E | 407
|  |  | 150kV Post Insulator Technical Drawing | GI150 | E | 408
|  |  | 150kV HV Connector Technical Drawing | GI150 | E | 409
|  |  | 150kV Conductor Technical Drawing | GI150 | E | 410
|  |  | 150kV Earth Wire Technical Drawing | GI150 | E | 411
|  |  | 150kV LV Power and Control Cable Technical Drawing | GI150 | E | 412
|  |  | 20kV MV Power Cable Technical Drawing | GI150 | E | 413
|  |  | 20/0.4kV Auxiliary Transformer Technical Drawing | GI150 | E | 414
|  |  | Generator Set Technical Drawing | GI150 | E | 415
|  |  | 110V Battery for 150kV Technical Drawing | GI150 | E | 416
|  |  | 48V Battery for 150kV Technical Drawing | GI150 | E | 417
|  |  | 110V Battery Charger for 150kV Technical Drawing | GI150 | E | 418
|  |  | 48V Battery Charger for 150kV Technical Drawing | GI150 | E | 419
|  |  | Uninteruptible Power Supply Technical Drawing | GI150 | E | 420
|  |  | 400/230V AC Distribution Board for 150kV Technical Drawing | GI150 | E | 421
|  |  | 110V DC Distribution Board for 150kV Technical Drawing | GI150 | E | 422
|  |  | 48V DC Distribution Board for 150kV Technical Drawing | GI150 | E | 423
|  |  | 20kV MV Switchgear Technical Drawing | GI150 | E | 424
|  |  | Neutral Grounding Resistor Technical Drawing | GI150 | E | 425
|  |  | 150kV NCT Technical Drawing | GI150 | E | 426
|  |  | CCTV Technical Drawing | GI150 | E | 427
|  |  | Fire Prevention System Technical Drawing | GI150 | E | 428
|  |  | 150kV Digital Fault Recorder (DFR) Technical Drawing | GI150 | E | 429
|  |  | 150kV Digital Fault Locator (DFL) Technical Drawing | GI150 | E | 430
Calculation Notes
|  |  | 150kV Current Transformer Calculation Note | GI150 | E | 501
|  |  | 150kV Capacitive Voltage Transformer Calculation Note | GI150 | E | 502
|  |  | 150kV Earthing Grid Calculation Note | GI150 | E | 503
|  |  | 110VDC Battery for 150kV Calculation Note | GI150 | E | 504
|  |  | 48VDC Battery for 150kV Calculation Note | GI150 | E | 505
|  |  | Power Consumption Load List (400/230VAC, 110VDC, 48VDC) | GI150 | E | 506
|  |  | UPS Load List | GI150 | E | 507
|  |  | 150kV Protection Relay Setting Proposal | GI150 | E | 508
|  |  | 150kV Tele Information Plan | GI150 | E | 509
|  |  | 20kV Tele Information Plan | GI150 | E | 510
Schematic Drawing
|  |  | 150kV Basic Design Substation Automation System (SAS) | GI150 | E | 601
|  |  | 150kV Basic Design Relay Control Panel (RCP) | GI150 | E | 602
|  |  | 150kV Basic Design Telecommunication | GI150 | E | 603
|  |  | 150kV Schematic Drawing for E01 Bay Line #1 | GI150 | E | 604
|  |  | 150kV Schematic Drawing for E02 Bay Line #2 | GI150 | E | 605
|  |  | 150kV Schematic Drawing for E03 Bay Couple | GI150 | E | 606
|  |  | 150kV Schematic Drawing for E04 Bay Incoming IBT #3 (Future) | GI150 | E | 607
|  |  | 150kV Schematic Drawing for E05 Bay Trafo #1 | GI150 | E | 608
|  |  | 150kV Schematic Drawing for E06 Bay Incoming IBT #1 | GI150 | E | 609
|  |  | 150kV Schematic Drawing for E07 Bay Section (Future) | GI150 | E | 610
|  |  | 150kV Schematic Drawing for E08 Bay Couple (Future) | GI150 | E | 611
|  |  | 150kV Schematic Drawing for E09 Bay Incoming IBT #2 | GI150 | E | 612
|  |  | 150kV Schematic Drawing for E10 Bay Trafo #2 (Future) | GI150 | E | 613
|  |  | 150kV Schematic Drawing for E11 Bay Incoming IBT #4 (Future) | GI150 | E | 614
|  |  | 150kV Schematic Drawing for E12 Bay Line #3 | GI150 | E | 615
|  |  | 150kV Schematic Drawing for E13 Bay Line #4 | GI150 | E | 616
|  |  | 150kV Schematic Drawing Busbar Protection | GI150 | E | 617
|  |  | 150kV Schematic Drawing IED I/O Common Panel | GI150 | E | 618
|  |  | 150kV Schematic Drawing Energy Meter Panel | GI150 | E | 619
|  |  | 150kV Schematic Drawing SAS Server Panel | GI150 | E | 620
|  |  | 150kV Schematic Drawing Telecommunication | GI150 | E | 621
|  |  | 150kV Schematic Drawing Common (Ring Loop) | GI150 | E | 622
|  |  | Detail Design 20kV MV Switchgear | GI150 | E | 623
Cable Schedule
|  |  | 150kV Cable List and Connection =E01 Bay Line #1 | GI150 | E | 701
|  |  | 150kV Cable List and Connection =E02 Bay Line #2 | GI150 | E | 702
|  |  | 150kV Cable List and Connection =E03 Bay Couple | GI150 | E | 703
|  |  | 150kV Cable List and Connection =E04 Bay Incoming IBT #3 (Future) | GI150 | E | 704
|  |  | 150kV Cable List and Connection =E05 Bay Trafo #1 | GI150 | E | 705
|  |  | 150kV Cable List and Connection =E06 Bay Incoming IBT #1 | GI150 | E | 706
|  |  | 150kV Cable List and Connection =E07 Bay Section (Future) | GI150 | E | 707
|  |  | 150kV Cable List and Connection =E08 Bay Couple (Future) | GI150 | E | 708
|  |  | 150kV Cable List and Connection =E09 Bay Incoming IBT #2 | GI150 | E | 709
|  |  | 150kV Cable List and Connection =E10 Bay Trafo #2 (Future) | GI150 | E | 710
|  |  | 150kV Cable List and Connection =E11 Bay Incoming IBT #4 (Future) | GI150 | E | 711
|  |  | 150kV Cable List and Connection =E12 Bay Line #3 | GI150 | E | 712
|  |  | 150kV Cable List and Connection =E13 Bay Line #4 | GI150 | E | 713
|  |  | 150kV Cable List and Connection Busbar Protection | GI150 | E | 714
|  |  | 150kV Cable List and Connection SAS and Common | GI150 | E | 715
|  |  | 150kV Cable List and Connection 20kV MV Switchgear | GI150 | E | 716
|  |  | 150kV Cable List and Connection AC DC Supply Buswire | GI150 | E | 717
|  |  | 150kV Cable List and Connection Telecommunication | GI150 | E | 718
|  |  | 150kV Cable List and Connection DFR | GI150 | E | 719
Additional Drawing
CIVIL DRAWINGS
150 kV Switchyard Steel Structure Calculation Note
|  |  | 150kV Circuit Breaker Steel Structure Calculation Note | GI150 | C | 101
|  |  | 150kV Circuit Breaker Foundation Calculation Note | GI150 | C | 102
|  |  | 150kV Circuit Breaker Steel Structure Drawing | GI150 | C | 103
|  |  | 150kV Circuit Breaker Foundation Drawing | GI150 | C | 104
Note on E1: Kode Sistem + Kode Proyek -REN EM UIP JBB GI500 GI150 TL500 TL150 -REN EM UIP JBB
Note on F1: Kode Pekerjaan -REN EM UIP JBB E = Elektrikal S = Sipil/Struktir P = Pendukung Proyek -REN EM UIP JBB
Note on G1: Nomor Gambar -REN EM UIP JBB

## GIS150
NO |  |  | TITLE OF DRAWING | KODE 2 | KODE 4 | KODE 5
SUPPORTING DOCUMENT
Drawing List
|  |  | Drawing List | GIS150 | P | 001
General Drawing
|  |  | 150kV General Layout (Perimeter Area) | GIS150 | P | 002
SUBSTATION AND INSTALLATION DRAWINGS
Substation Drawings
|  |  | 150kV General Layout | GIS150 | E | 001
|  |  | 150kV GIS Layout | GIS150 | E | 002
|  |  | 150kV GIS Section View | GIS150 | E | 003
|  |  | 150kV GIS Foundation | GIS150 | E | 004
|  |  | 150kV Earthing Grid Layout & Detail | GIS150 | E | 005
Installation Drawings
|  |  | 150kV Principle of Installation Drawing | GIS150 | E | 101
|  |  | 150kV Safety Distance | GIS150 | E | 102
|  |  | 150kV Name Plates | GIS150 | E | 103
|  |  | 150kV Control Building Arrangement Board Layout, Section & Detail | GIS150 | E | 104
|  |  | 150kV Mounting Drawing Layout & Section | GIS150 | E | 105
ELECTRICAL DRAWINGS
Single Line Diagram Drawings
|  |  | 150kV Single Line Diagram | GIS150 | E | 201
|  |  | 150kV Single Line Diagram Relay and Metering | GIS150 | E | 202
|  |  | 150kV Gas Section Diagram | GIS150 | E | 203
|  |  | 400/230V AC Single Line Diagram for 150kV | GIS150 | E | 204
|  |  | 110V DC Single Line Diagram for 150kV | GIS150 | E | 205
|  |  | 48V DC Single Line Diagram for 150kV | GIS150 | E | 206
|  |  | 20kV Single Line Diagram | GIS150 | E | 207
|  |  | UPS Single Line Diagram | GIS150 | E | 208
Technical Specification
|  |  | Substation System Design GIS 150kV Technical Specification | GIS150 | E | 301
|  |  | 150kV GIS Technical Specification | GIS150 | E | 302
|  |  | 150kV CT & VT Technical Specification | GIS150 | E | 303
|  |  | 150kV Paint Technical Specification | GIS150 | E | 304
|  |  | 150kV LCC Technical Specification | GIS150 | E | 305
|  |  | 150kV LV Device List for LCC Technical Specification | GIS150 | E | 306
|  |  | 150kV Partial Discharge Management System Technical Specification | GIS150 | E | 307
|  |  | 150kV Partial Discharge Sensor for GIS Technical Specification | GIS150 | E | 308
|  |  | 150/20kV Power Transformer Technical Specification | GIS150 | E | 309
|  |  | 150kV LV Power and Control Cable Technical Specification | GIS150 | E | 310
|  |  | 20kV MV Power Cable Technical Specification | GIS150 | E | 311
|  |  | 150kV HV Cable Technical Specification | GIS150 | E | 312
|  |  | 150kV HV Cable Termination & Accessories Technical Specification | GIS150 | E | 313
|  |  | 20/0.4kV Auxiliary Transformer Technical Specification | GIS150 | E | 314
|  |  | Generator Set Technical Specification | GIS150 | E | 315
|  |  | 110V Battery for 150kV Technical Specification | GIS150 | E | 316
|  |  | 48V Battery for 150kV Technical Specification | GIS150 | E | 317
|  |  | 110V Battery Charger for 150kV Technical Specification | GIS150 | E | 318
|  |  | 48V Battery Charger for 150kV Technical Specification | GIS150 | E | 319
|  |  | Uninteruptible Power Supply Technical Specification | GIS150 | E | 320
|  |  | 400/230V AC Distribution Board for 150kV Technical Specification | GIS150 | E | 321
|  |  | 110V DC Distribution Board for 150kV Technical Specification | GIS150 | E | 322
|  |  | 48V DC Distribution Board for 150kV Technical Specification | GIS150 | E | 323
|  |  | 20kV MV Switchgear Technical Specification | GIS150 | E | 324
|  |  | Neutral Grounding Resistor Technical Specification | GIS150 | E | 325
|  |  | 150kV NCT Technical Specification | GIS150 | E | 326
|  |  | 150kV Telecommunication Equipment Technical Specification | GIS150 | E | 327
|  |  | CCTV Technical Specification | GIS150 | E | 328
|  |  | 150kV RCP Technical Specification | GIS150 | E | 329
|  |  | 150kV SAS Technical Specification | GIS150 | E | 330
|  |  | Fire Prevention System Technical Specification | GIS150 | E | 331
|  |  | 150kV Digital Fault Recorder (DFR) Technical Specification | GIS150 | E | 332
|  |  | 150kV Digital Fault Locator (DFL) Technical Specification | GIS150 | E | 333
|  |  | 150kV Substation Earthing System Technical Specification | GIS150 | E | 334
|  |  | Gas Handling Equipment Technical Specification | GIS150 | E | 335
Technical Drawings
|  |  | 150kV GIS Technical Drawing | GIS150 | E | 401
|  |  | 150kV Interface Cable Head Feeder | GIS150 | E | 402
|  |  | 150kV Interface Cable Head Trafo | GIS150 | E | 403
|  |  | 150kV Partial Discharge Management System Technical Drawing | GIS150 | E | 404
|  |  | 150kV Partial Discharge Sensor for GIS Technical Drawing | GIS150 | E | 405
|  |  | 150/20kV Power Transformer Technical Drawing | GIS150 | E | 406
|  |  | 150kV LV Power and Control Cable Technical Drawing | GIS150 | E | 407
|  |  | 20kV MV Power Cable Technical Drawing | GIS150 | E | 408
|  |  | 150kV HV Cable Technical Drawing | GIS150 | E | 409
|  |  | 150kV HV Cable Termination & Accessories Technical Drawing | GIS150 | E | 410
|  |  | 20/0.4kV Auxiliary Transformer Technical Drawing | GIS150 | E | 411
|  |  | Generator Set Technical Drawing | GIS150 | E | 412
|  |  | 110V Battery for 150kV Technical Drawing | GIS150 | E | 413
|  |  | 48V Battery for 150kV Technical Drawing | GIS150 | E | 414
|  |  | 110V Battery Charger for 150kV Technical Drawing | GIS150 | E | 415
|  |  | 48V Battery Charger for 150kV Technical Drawing | GIS150 | E | 416
|  |  | Uninteruptible Power Supply Technical Drawing | GIS150 | E | 417
|  |  | 400/230V AC Distribution Board for 150kV Technical Drawing | GIS150 | E | 418
|  |  | 110V DC Distribution Board for 150kV Technical Drawing | GIS150 | E | 419
|  |  | 48V DC Distribution Board for 150kV Technical Drawing | GIS150 | E | 420
|  |  | 20kV MV Switchgear Technical Drawing | GIS150 | E | 421
|  |  | Neutral Grounding Resistor Technical Drawing | GIS150 | E | 422
|  |  | 150kV NCT Technical Drawing | GIS150 | E | 423
|  |  | CCTV Technical Drawing | GIS150 | E | 424
|  |  | Fire Prevention System Technical Drawing | GIS150 | E | 425
|  |  | 150kV Digital Fault Recorder (DFR) Technical Drawing | GIS150 | E | 426
|  |  | 150kV Digital Fault Locator (DFL) Technical Drawing | GIS150 | E | 427
|  |  | Gas Handling Equipment Technical Drawing | GIS150 | E | 428
|  |  | 150kV LCC Arrangement E01 Bay Line #1 | GIS150 | E | 429
|  |  | 150kV LCC Arrangement E02 Bay Line #2 | GIS150 | E | 430
|  |  | 150kV LCC Arrangement E03 Bay Couple | GIS150 | E | 431
|  |  | 150kV LCC Arrangement E04 Bay Incoming IBT #3 (Future) | GIS150 | E | 432
|  |  | 150kV LCC Arrangement E05 Bay Trafo #1 | GIS150 | E | 433
|  |  | 150kV LCC Arrangement E06 Bay Incoming IBT #1 | GIS150 | E | 434
|  |  | 150kV LCC Arrangement E07 Bay Section (Future) | GIS150 | E | 435
|  |  | 150kV LCC Arrangement E08 Bay Couple (Future) | GIS150 | E | 436
|  |  | 150kV LCC Arrangement E09 Bay Incoming IBT #2 | GIS150 | E | 437
|  |  | 150kV LCC Arrangement E10 Bay Trafo #2 (Future) | GIS150 | E | 438
|  |  | 150kV LCC Arrangement E11 Bay Incoming IBT #4 (Future) | GIS150 | E | 439
|  |  | 150kV LCC Arrangement E12 Bay Line #3 | GIS150 | E | 440
|  |  | 150kV LCC Arrangement E13 Bay Line #4 | GIS150 | E | 441
Calculation Notes
|  |  | 150kV Current Transformer Calculation Note | GIS150 | E | 501
|  |  | 150kV Capacitive Voltage Transformer Calculation Note | GIS150 | E | 502
|  |  | 150kV Earthing Grid Calculation Note | GIS150 | E | 503
|  |  | 110VDC Battery for 150kV Calculation Note | GIS150 | E | 504
|  |  | 48VDC Battery for 150kV Calculation Note | GIS150 | E | 505
|  |  | Power Consumption Load List (400/230VAC, 110VDC, 48VDC) | GIS150 | E | 506
|  |  | UPS Load List | GIS150 | E | 507
|  |  | 150kV Protection Relay Setting Proposal | GIS150 | E | 508
|  |  | 150kV Tele Information Plan | GIS150 | E | 509
|  |  | 20kV Tele Information Plan | GIS150 | E | 510
Schematic Drawing
|  |  | 150kV Basic Design Substation Automation System (SAS) | GIS150 | E | 601
|  |  | 150kV Basic Design Relay Control Panel (RCP) | GIS150 | E | 602
|  |  | 150kV Basic Design Telecommunication | GIS150 | E | 603
|  |  | 150kV Schematic Drawing for LCC E01 Bay Line #1 | GIS150 | E | 604
|  |  | 150kV Schematic Drawing for LCC E02 Bay Line #2 | GIS150 | E | 605
|  |  | 150kV Schematic Drawing for LCC E03 Bay Couple | GIS150 | E | 606
|  |  | 150kV Schematic Drawing for LCC E04 Bay Incoming IBT #3 (Future) | GIS150 | E | 607
|  |  | 150kV Schematic Drawing for LCC E05 Bay Trafo #1 | GIS150 | E | 608
|  |  | 150kV Schematic Drawing for LCC E06 Bay Incoming IBT #1 | GIS150 | E | 609
|  |  | 150kV Schematic Drawing for LCC E07 Bay Section (Future) | GIS150 | E | 610
|  |  | 150kV Schematic Drawing for LCC E08 Bay Couple (Future) | GIS150 | E | 611
|  |  | 150kV Schematic Drawing for LCC E09 Bay Incoming IBT #2 | GIS150 | E | 612
|  |  | 150kV Schematic Drawing for LCC E10 Bay Trafo #2 (Future) | GIS150 | E | 613
|  |  | 150kV Schematic Drawing for LCC E11 Bay Incoming IBT #4 (Future) | GIS150 | E | 614
|  |  | 150kV Schematic Drawing for LCC E12 Bay Line #3 | GIS150 | E | 615
|  |  | 150kV Schematic Drawing for LCC E13 Bay Line #4 | GIS150 | E | 616
|  |  | 150kV Electrical Interlock Scheme | GIS150 | E | 617
|  |  | 150kV Schematic Drawing for E01 Bay Line #1 | GIS150 | E | 618
|  |  | 150kV Schematic Drawing for E02 Bay Line #2 | GIS150 | E | 619
|  |  | 150kV Schematic Drawing for E03 Bay Couple | GIS150 | E | 620
|  |  | 150kV Schematic Drawing for E04 Bay Incoming IBT #3 (Future) | GIS150 | E | 621
|  |  | 150kV Schematic Drawing for E05 Bay Trafo #1 | GIS150 | E | 622
|  |  | 150kV Schematic Drawing for E06 Bay Incoming IBT #1 | GIS150 | E | 623
|  |  | 150kV Schematic Drawing for E07 Bay Section (Future) | GIS150 | E | 624
|  |  | 150kV Schematic Drawing for E08 Bay Couple (Future) | GIS150 | E | 625
|  |  | 150kV Schematic Drawing for E09 Bay Incoming IBT #2 | GIS150 | E | 626
|  |  | 150kV Schematic Drawing for E10 Bay Trafo #2 (Future) | GIS150 | E | 627
|  |  | 150kV Schematic Drawing for E11 Bay Incoming IBT #4 (Future) | GIS150 | E | 628
|  |  | 150kV Schematic Drawing for E12 Bay Line #3 | GIS150 | E | 629
|  |  | 150kV Schematic Drawing for E13 Bay Line #4 | GIS150 | E | 630
|  |  | 150kV Schematic Drawing Busbar Protection | GIS150 | E | 631
|  |  | 150kV Schematic Drawing IED I/O Common Panel | GIS150 | E | 632
|  |  | 150kV Schematic Drawing Energy Meter Panel | GIS150 | E | 633
|  |  | 150kV Schematic Drawing SAS Server Panel | GIS150 | E | 634
|  |  | 150kV Schematic Drawing Telecommunication | GIS150 | E | 635
|  |  | 150kV Schematic Drawing Common (Ring Loop) | GIS150 | E | 636
|  |  | Detail Design 20kV MV Switchgear | GIS150 | E | 637
Cable Schedule
|  |  | 150kV Cable List and Connection =E01 Bay Line #1 | GIS150 | E | 701
|  |  | 150kV Cable List and Connection =E02 Bay Line #2 | GIS150 | E | 702
|  |  | 150kV Cable List and Connection =E03 Bay Couple | GIS150 | E | 703
|  |  | 150kV Cable List and Connection =E04 Bay Incoming IBT #3 (Future) | GIS150 | E | 704
|  |  | 150kV Cable List and Connection =E05 Bay Trafo #1 | GIS150 | E | 705
|  |  | 150kV Cable List and Connection =E06 Bay Incoming IBT #1 | GIS150 | E | 706
|  |  | 150kV Cable List and Connection =E07 Bay Section (Future) | GIS150 | E | 707
|  |  | 150kV Cable List and Connection =E08 Bay Couple (Future) | GIS150 | E | 708
|  |  | 150kV Cable List and Connection =E09 Bay Incoming IBT #2 | GIS150 | E | 709
|  |  | 150kV Cable List and Connection =E10 Bay Trafo #2 (Future) | GIS150 | E | 710
|  |  | 150kV Cable List and Connection =E11 Bay Incoming IBT #4 (Future) | GIS150 | E | 711
|  |  | 150kV Cable List and Connection =E12 Bay Line #3 | GIS150 | E | 712
|  |  | 150kV Cable List and Connection =E13 Bay Line #4 | GIS150 | E | 713
|  |  | 150kV Cable List and Connection Busbar Protection | GIS150 | E | 714
|  |  | 150kV Cable List and Connection SAS and Common | GIS150 | E | 715
|  |  | 150kV Cable List and Connection 20kV MV Switchgear | GIS150 | E | 716
|  |  | 150kV Cable List and Connection AC DC Supply Buswire | GIS150 | E | 717
|  |  | 150kV Cable List and Connection Telecommunication | GIS150 | E | 718
|  |  | 150kV Cable List and Connection DFR | GIS150 | E | 719
Additional Drawing
CIVIL DRAWINGS
150 kV Building Calculation Note
|  |  | 150kV Circuit Breaker Steel Structure Calculation Note | GIS150 | C | 101
|  |  | 150kV Circuit Breaker Foundation Calculation Note | GIS150 | C | 102
|  |  | 150kV Circuit Breaker Steel Structure Drawing | GIS150 | C | 103
|  |  | 150kV Circuit Breaker Foundation Drawing | GIS150 | C | 104
|  |  | 150kV GIS Building Arrangement Board Layout, Section & Detail | GIS150 | C | 105
|  |  | 150kV Cable Route Layout | GIS150 | C | 106
|  |  | 150kV Cable Support Installation | GIS150 | C | 107
|  |  | Overhead Travelling Crane Technical Specification | GIS150 | C | 108
|  |  | Overhead Travelling Crane Technical Drawing | GIS150 | C | 109
Note on E1: Kode Sistem + Kode Proyek -REN EM UIP JBB GI500 GI150 TL500 TL150 -REN EM UIP JBB
Note on F1: Kode Pekerjaan -REN EM UIP JBB E = Elektrikal S = Sipil/Struktir P = Pendukung Proyek -REN EM UIP JBB
Note on G1: Nomor Gambar -REN EM UIP JBB

## SKTET500
NO |  |  | TITLE OF DRAWING | KODE 2 | KODE 4 | KODE 5
SUPPORTING DOCUMENT
Drawing List
|  |  | Drawing List | UGC500 | P | 001
General Drawing
|  |  | 500kV Line Route Transmission | UGC500 | P | 002
|  |  | 500kV Longitudinal Profile | UGC500 | P | 003
ELECTRICAL DRAWINGS
General
|  |  | Gambar Rute Jaringan | UGC500 | E | 001
|  |  | Single Line Diagram | UGC500 | E | 002
|  |  | System Bonding Diagram | UGC500 | E | 003
|  |  | Cutting Length Cable | UGC500 | E | 004
|  |  | Cutting Length Cable Fiber Optic | UGC500 | E | 005
|  |  | Layout Sistem Pembumian (Joint Pit and End Point GI) | UGC500 | E | 006
Calculation Notes
|  |  | Soil Thermal Resistivity Report | UGC500 | E | 101
|  |  | Calculation of Continous Current Ratings | UGC500 | E | 102
Technical Specification
|  |  | Transmission Line System Design | UGC500 | E | 201
|  |  | 500 kV Underground Cable Technical Specification | UGC500 | E | 202
|  |  | Cable N2XC2Y 1x300/300 Technical Specification | UGC500 | E | 203
|  |  | Cable N2XY 1x300 Technical Specification | UGC500 | E | 204
|  |  | Fibre Optic Armored Cable Technical Specification | UGC500 | E | 205
|  |  | Indoor Dry Type Termination for 500 kV XLPE Cables Technical Specification | UGC500 | E | 206
|  |  | Outdoor Polymer Termination for 500 kV XLPE Cables Technical Specification | UGC500 | E | 207
|  |  | Cable Joint for 500 kV XLPE Cables Technical Specification | UGC500 | E | 208
|  |  | Link Box for Solid Bonding (6 Way) Technical Specification | UGC500 | E | 209
|  |  | Link Box for Cross Bonding (6 Way) Technical Specification | UGC500 | E | 210
|  |  | Link Box with SVL at Joint (Single) Technical Specification | UGC500 | E | 211
|  |  | Lightning Arrester 150 kV Technical Specification | UGC500 | E | 212
|  |  | Cable Cleat Technical Specification | UGC500 | E | 213
Technical Drawings
|  |  | 500 kV Underground Cable Technical Drawing | UGC500 | E | 301
|  |  | Cable N2XC2Y 1x300/300 Technical Drawing | UGC500 | E | 302
|  |  | Cable N2XY 1x300 Technical Drawing | UGC500 | E | 303
|  |  | Fibre Optic Armored Cable Technical Drawing | UGC500 | E | 304
|  |  | Indoor Dry Type Termination for 500 kV XLPE Cables Technical Drawing | UGC500 | E | 305
|  |  | Outdoor Polymer Termination for 500 kV XLPE Cables Technical Drawing | UGC500 | E | 306
|  |  | Cable Joint for 150 kV XLPE Cables Technical Drawing | UGC500 | E | 307
|  |  | Link Box for Solid Bonding (6 Way) Technical Drawing | UGC500 | E | 308
|  |  | Link Box for Cross Bonding (6 Way) Technical Drawing | UGC500 | E | 309
|  |  | Link Box with SVL at Joint (Single) Technical Drawing | UGC500 | E | 310
|  |  | Lightning Arrester 150 kV Technical Drawing | UGC500 | E | 311
|  |  | Cable Cleat Technical Drawing | UGC500 | E | 312
CIVIL DRAWINGS
Civil Calculation and Drawings
|  |  | 500kV Circuit Breaker Steel Structure Calculation Note | UGC500 | C | 101
|  |  | 500kV Circuit Breaker Foundation Calculation Note | UGC500 | C | 102
|  |  | 500kV Circuit Breaker Steel Structure Drawing | UGC500 | C | 103
|  |  | 500kV Circuit Breaker Foundation Drawing | UGC500 | C | 104
Note on E1: Kode Sistem + Kode Proyek -REN EM UIP JBB GI500 GI150 TL500 TL150 -REN EM UIP JBB
Note on F1: Kode Pekerjaan -REN EM UIP JBB E = Elektrikal S = Sipil/Struktir P = Pendukung Proyek -REN EM UIP JBB
Note on G1: Nomor Gambar -REN EM UIP JBB

## SKTT150
NO |  |  | TITLE OF DRAWING | KODE 2 | KODE 4 | KODE 5
SUPPORTING DOCUMENT
Drawing List
|  |  | Drawing List | UGC150 | P | 001
General Drawing
|  |  | 150kV Line Route Transmission | UGC150 | P | 002
|  |  | 150kV Longitudinal Profile | UGC150 | P | 003
ELECTRICAL DRAWINGS
General
|  |  | Gambar Rute Jaringan | UGC150 | E | 001
|  |  | Single Line Diagram | UGC150 | E | 002
|  |  | System Bonding Diagram | UGC150 | E | 003
|  |  | Cutting Length Cable | UGC150 | E | 004
|  |  | Cutting Length Cable Fiber Optic | UGC150 | E | 005
|  |  | Layout Sistem Pembumian (Joint Pit and End Point GI) | UGC150 | E | 006
Calculation Notes
|  |  | Soil Thermal Resistivity Report | UGC150 | E | 101
|  |  | Calculation of Continous Current Ratings | UGC150 | E | 102
Technical Specification
|  |  | Transmission Line System Design | UGC150 | E | 201
|  |  | 150 kV Underground Cable Technical Specification | UGC150 | E | 202
|  |  | Cable N2XC2Y 1x300/300 Technical Specification | UGC150 | E | 203
|  |  | Cable N2XY 1x300 Technical Specification | UGC150 | E | 204
|  |  | Fibre Optic Armored Cable Technical Specification | UGC150 | E | 205
|  |  | Indoor Dry Type Termination for 150 kV XLPE Cables Technical Specification | UGC150 | E | 206
|  |  | Outdoor Polymer Termination for 150 kV XLPE Cables Technical Specification | UGC150 | E | 207
|  |  | Cable Joint for 150 kV XLPE Cables Technical Specification | UGC150 | E | 208
|  |  | Link Box for Solid Bonding (6 Way) Technical Specification | UGC150 | E | 209
|  |  | Link Box for Cross Bonding (6 Way) Technical Specification | UGC150 | E | 210
|  |  | Link Box with SVL at Joint (Single) Technical Specification | UGC150 | E | 211
|  |  | Lightning Arrester 150 kV Technical Specification | UGC150 | E | 212
|  |  | Cable Cleat Technical Specification | UGC150 | E | 213
Technical Drawings
|  |  | 150 kV Underground Cable Technical Drawing | UGC150 | E | 301
|  |  | Cable N2XC2Y 1x300/300 Technical Drawing | UGC150 | E | 302
|  |  | Cable N2XY 1x300 Technical Drawing | UGC150 | E | 303
|  |  | Fibre Optic Armored Cable Technical Drawing | UGC150 | E | 304
|  |  | Indoor Dry Type Termination for 150 kV XLPE Cables Technical Drawing | UGC150 | E | 305
|  |  | Outdoor Polymer Termination for 150 kV XLPE Cables Technical Drawing | UGC150 | E | 306
|  |  | Cable Joint for 150 kV XLPE Cables Technical Drawing | UGC150 | E | 307
|  |  | Link Box for Solid Bonding (6 Way) Technical Drawing | UGC150 | E | 308
|  |  | Link Box for Cross Bonding (6 Way) Technical Drawing | UGC150 | E | 309
|  |  | Link Box with SVL at Joint (Single) Technical Drawing | UGC150 | E | 310
|  |  | Lightning Arrester 150 kV Technical Drawing | UGC150 | E | 311
|  |  | Cable Cleat Technical Drawing | UGC150 | E | 312
CIVIL DRAWINGS
Civil Calculation and Drawings
|  |  | 500kV Circuit Breaker Steel Structure Calculation Note | UGC150 | C | 101
|  |  | 500kV Circuit Breaker Foundation Calculation Note | UGC150 | C | 102
|  |  | 500kV Circuit Breaker Steel Structure Drawing | UGC150 | C | 103
|  |  | 500kV Circuit Breaker Foundation Drawing | UGC150 | C | 104
Note on E1: Kode Sistem + Kode Proyek -REN EM UIP JBB GI500 GI150 TL500 TL150 -REN EM UIP JBB
Note on F1: Kode Pekerjaan -REN EM UIP JBB E = Elektrikal S = Sipil/Struktir P = Pendukung Proyek -REN EM UIP JBB
Note on G1: Nomor Gambar -REN EM UIP JBB

## Penyempurnaan
NO |  |  | TITLE OF DRAWING | KODE 2 | KODE 4 | KODE 5
SUPPORTING DOCUMENT
Drawing List
|  |  | Drawing List | RECGI | P | 001
General Drawing
|  |  | 150kV General Layout (Perimeter Area) | RECGI | P | 002
SUBSTATION AND INSTALLATION DRAWINGS
Substation Drawings
|  |  | 150kV General Layout | RECGI | E | 001
|  |  | 150kV GIS Layout | RECGI | E | 002
|  |  | 150kV GIS Section View | RECGI | E | 003
|  |  | 150kV GIS Foundation | RECGI | E | 004
|  |  | 150kV Earthing Grid Layout & Detail | RECGI | E | 005
Installation Drawings
|  |  | 150kV Principle of Installation Drawing | RECGI | E | 101
|  |  | 150kV Safety Distance | RECGI | E | 102
|  |  | 150kV Name Plates | RECGI | E | 103
|  |  | 150kV Control Building Arrangement Board Layout, Section & Detail | RECGI | E | 104
|  |  | 150kV Mounting Drawing Layout & Section | RECGI | E | 105
ELECTRICAL DRAWINGS
Single Line Diagram Drawings
|  |  | 150kV Single Line Diagram | RECGI | E | 201
|  |  | 150kV Single Line Diagram Relay and Metering | RECGI | E | 202
|  |  | 150kV Gas Section Diagram | RECGI | E | 203
Technical Specification
|  |  | Substation System Design GIS 150kV Technical Specification | RECGI | E | 301
|  |  | 150kV GIS Technical Specification | RECGI | E | 302
|  |  | 150kV Substation Earthing System Technical Specification | RECGI | E | 303
Technical Drawings
|  |  | 150kV GIS Technical Drawing | RECGI | E | 401
|  |  | Gas Handling Equipment Technical Drawing | RECGI | E | 402
|  |  | 150kV LCC Arrangement E01 Bay Line #1 | RECGI | E | 403
|  |  | 150kV LCC Arrangement E02 Bay Line #2 | RECGI | E | 404
Calculation Notes
|  |  | 150kV Protection Relay Setting Proposal | RECGI | E | 501
|  |  | 150kV Tele Information Plan | RECGI | E | 502
Schematic Drawing
|  |  | 150kV Basic Design Substation Automation System (SAS) | RECGI | E | 601
|  |  | 150kV Basic Design Relay Control Panel (RCP) | RECGI | E | 602
|  |  | 150kV Basic Design Telecommunication | RECGI | E | 603
|  |  | 150kV Electrical Interlock Scheme | RECGI | E | 604
Cable Schedule
|  |  | 150kV Cable List and Connection =E01 Bay Line #1 | RECGI | E | 701
|  |  | 150kV Cable List and Connection =E02 Bay Line #2 | RECGI | E | 702
Additional Drawing
CIVIL DRAWINGS
Civil Calculation and Drawings
|  |  | 150kV Circuit Breaker Steel Structure Calculation Note | RECGI | C | 101
|  |  | 150kV Circuit Breaker Foundation Calculation Note | RECGI | C | 102
|  |  | 150kV Circuit Breaker Steel Structure Drawing | RECGI | C | 103
|  |  | 150kV Circuit Breaker Foundation Drawing | RECGI | C | 104
Note on E1: Kode Sistem + Kode Proyek -REN EM UIP JBB GI500 GI150 TL500 TL150 -REN EM UIP JBB
Note on F1: Kode Pekerjaan -REN EM UIP JBB E = Elektrikal S = Sipil/Struktir P = Pendukung Proyek -REN EM UIP JBB
Note on G1: Nomor Gambar -REN EM UIP JBB

## Special Facility PLTMH
NO |  |  | TITLE OF DRAWING | KODE 2 | KODE 4 | KODE 5
SUPPORTING DOCUMENT
Drawing List
|  |  | Drawing List | DL20 | P | 001
GENERAL DRAWING
SUTM Drawings
|  |  | SUTM 20 kV Line Route | DL20 | P | 101
|  |  | SUTM 20 kV Long Profile | DL20 | P | 102
|  |  | SUTM 20 kV Pole Schedule | DL20 | P | 103
|  |  | Extention/ Pembuatan Gardu Hubung | DL20 | P | 104
ELECTRICAL DRAWINGS
|  | Technical Specification |  | DL20 | E | 001
|  |  | Power Cable XLPE 20 kV | DL20 | E | 002
|  |  | Indoor Termination 20 kV | DL20 | E | 003
|  |  | Outdoor Termination 20 kV | DL20 | E | 004
|  |  | Cubicle Switchgear 20 kV | DL20 | E | 005
|  |  | Energy Meter 20 kV | DL20 | E | 006
|  |  | Insulator 20 kV | DL20 | E | 007
|  |  | OHL Conductor 20 kV | DL20 | E | 008
|  |  | Lightning Rod | DL20 | E | 009
|  |  | Recloser | DL20 | E | 010
Technical Drawings
|  |  | Single Line Diagram | DL20 | E | 101
|  |  | Power Cable XLPE 20 kV | DL20 | E | 102
|  |  | Indoor Termination 20 kV | DL20 | E | 103
|  |  | Outdoor Termination 20 kV | DL20 | E | 104
|  |  | Cubicle Switchgear 20 kV (2xIncoming PLTM, Cubicle LBS) | DL20 | E | 105
|  |  | Wiring Diagram | DL20 | E | 106
|  |  | Energy Meter 20 kV | DL20 | E | 107
|  |  | Insulator 20 kV | DL20 | E | 108
|  |  | OHL Conductor 20 kV | DL20 | E | 109
|  |  | Lightning Rod | DL20 | E | 110
|  |  | Recloser | DL20 | E | 111
|  |  | 20 kV Drum Schedule | DL20 | E | 112
|  |  | 20 kV Sag Schedule | DL20 | E | 113
|  |  | Proposal Setting Relay | DL20 | E | 114
CIVIL DRAWINGS
Civil Calculation and Drawings
|  |  | Soil Investigation Report | DL20 | C | 101
|  |  | Foundation Calculation Note | DL20 | C | 102
|  |  | SUTM 20 kV Foundation Schedule | DL20 | C | 103
Note on E1: Kode Sistem + Kode Proyek -REN EM UIP JBB GI500 GI150 TL500 TL150 -REN EM UIP JBB
Note on F1: Kode Pekerjaan -REN EM UIP JBB E = Elektrikal S = Sipil/Struktir P = Pendukung Proyek -REN EM UIP JBB
Note on G1: Nomor Gambar -REN EM UIP JBB

## GIS Compartment
NO |  |  | TITLE OF DRAWING | KODE 2 | KODE 4 | KODE 5
SUPPORTING DOCUMENT
Drawing List
|  |  | Drawing List | GISC | E | 001
ELECTRICAL DRAWINGS
Technical Specification
|  |  | TPG Substation System Design | GISC | E | 001
|  |  | TPG Gas Insulated Switchgear | GISC | E | 002
Technical Document
|  |  | LCC Specifications | GISC | E | 101
|  |  | LV Device for LCC Specifications | GISC | E | 102
General Drawing
|  |  | GIS Gas Diagram | GISC | E | 201
|  |  | GIS Layout | GISC | E | 202
|  |  | GIS Section View | GISC | E | 203
Single Line Diagram
|  |  | GIS Single Line Diagram | GISC | E | 301
Schematic Drawings
|  |  | Electrical Interlock Schematic | GISC | E | 401
|  |  | GIS Schematic Diagram Line Bay 1 | GISC | E | 402
|  |  | GIS Schematic Diagram Line Bay 2 | GISC | E | 403
|  |  | GIS Schematic Diagram Line Bay 3 | GISC | E | 404
|  |  | GIS Schematic Diagram Line Bay 4 | GISC | E | 405
|  |  | GIS Schematic Diagram Trafo Bay 1 | GISC | E | 406
|  |  | GIS Schematic Diagram Trafo Bay 2 | GISC | E | 407
|  |  | GIS Schematic Diagram Bus Coupler | GISC | E | 408
Technical Drawings
|  |  | Name Plate | GISC | E | 501
|  |  | GIS Grounding | GISC | E | 502
|  |  | GIS Loading Plan | GISC | E | 503
|  |  | GIS 3D View | GISC | E | 504
|  |  | Interface Cable Head - Feeder | GISC | E | 505
|  |  | Interface Cable Head - Transformer | GISC | E | 506
|  |  | LCC Arrangement Line Bay 1 | GISC | E | 507
|  |  | LCC Arrangement Line Bay 2 | GISC | E | 508
|  |  | LCC Arrangement Line Bay 3 | GISC | E | 509
|  |  | LCC Arrangement Line Bay 4 | GISC | E | 510
|  |  | LCC Arrangement Trafo Bay 1 | GISC | E | 511
|  |  | LCC Arrangement Trafo Bay 2 | GISC | E | 512
|  |  | LCC Arrangement Bus Coupler | GISC | E | 513
Note on E1: Kode Sistem + Kode Proyek -REN EM UIP JBB GI500 GI150 TL500 TL150 -REN EM UIP JBB
Note on F1: Kode Pekerjaan -REN EM UIP JBB E = Elektrikal S = Sipil/Struktir P = Pendukung Proyek -REN EM UIP JBB
Note on G1: Nomor Gambar -REN EM UIP JBB